## DDC
Note: Recommended spares lists are based on most common modules. Specifications and modules vary. Verify the part numbers against the parts catalog prior to ordering parts to be sure you are ordering the part numbers corresponding to your configuration.
MODEL | 135RZD
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | 869 | 869
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
Heatsink | B-258549 | 1 | 228 | 228
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | 242 | 242
Indicator board | A-336432 | 1 | 256 | 256
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Hose, upper radiator (2.50" id) | 343006 | 1 | 63 | 63
Hose, lower radiator (2.50" id) | 343007 | 1 | 56.6 | 56.6
Sender, water temperature | 268298 | 1 | 9.2 | 9.2
Belt, V, 65.2 in. | 343623 | 1 | 9.1 | 9.1
Element, air cleaner | 324418 | 7 | 53 | 371
Filter, oil | 279260 | 14 | 26.9 | 376.6
Sensor, low fluid | 365289 | 1 | 51.3 | 51.3
17-275 kw, Accessories, Gas | TP-5708 | 1 | 7
135-275ZD/RFZD, Industrial | TP-5745 | 1 | 12
135-180 kw DDC Series 50 | TP-5832 | 1 | 12
Controllers, Industrial | TP-6009 | 1 | 12
|  |  | TOTAL | 2766.1
MODEL | 150RZD
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | 869 | 869
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
Heatsink | B-258549 | 1 | 228 | 228
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | 242 | 242
Indicator board | A-336432 | 1 | 256 | 256
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Hose, upper radiator (2.50" id) | 343006 | 1 | 63 | 63
Hose, lower radiator (2.50" id) | 343007 | 1 | 56.6 | 56.6
Belt, V, 63.6 in. | 343667 | 1 | 26.7 | 26.7
Sender, water temperature | 268298 | 1 | 9.2 | 9.2
Element, air cleaner | 324418 | 14 | 53 | 742
Filter, oil | 279260 | 14 | 26.9 | 376.6
Sensor, low fluid | 365289 | 1 | 51.3 | 51.3
Sender, oil pressure | 343473 | 1 | 49.8 | 49.8
17-275 kw, Accessories, Gas | TP-5708 | 1 | 7
135-275ZD/RFZD, Industrial | TP-5745 | 1 | 12
135-180 kw DDC Series 50 | TP-5832 | 1 | 12
Controllers, Industrial | TP-6009 | 1 | 12
|  |  | TOTAL | 3204.5
MODEL | 180RZD
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | 869 | 869
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
Heatsink | B-258549 | 1 | 228 | 228
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | 242 | 242
Indicator board | A-336432 | 1 | 256 | 256
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Hose, upper radiator (2.50" id) | 343006 | 1 | 63 | 63
Hose, lower radiator (2.50" id) | 343007 | 1 | 56.6 | 56.6
Belt, V, 63.6 in. | 343667 | 1 | 26.7 | 26.7
Element, air cleaner | 324418 | 7 | 53 | 371
Filter, oil | 279260 | 14 | 26.9 | 376.6
Sensor, low fluid | 365289 | 1 | 51.3 | 51.3
17-275 kw, Accessories, Gas | TP-5708 | 1 | 7
135-275ZD/RFZD, Industrial | TP-5745 | 1 | 12
135-180 kw DDC Series 50 | TP-5832 | 1 | 12
Controllers, Industrial | TP-6009 | 1 | 12
|  |  | TOTAL | 2774.5
MODEL | 200RZD
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | 869 | 869
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
Heatsink | B-258549 | 1 | 228 | 228
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
PCB assembly, V/Hz regulator, FRII | A-354653 | 1 | 242 | 242
Indicator board | A-336432 | 1 | 256 | 256
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Hose, lower radiator (2.50" id) | 343289 | 1 | 55.1 | 55.1
Hose, radiator | X-6014-88 | 1 | 106.6 | 106.6
Belt, V, 65.2 in. | 343623 | 1 | 9.1 | 9.1
Air cleaner, industrial | 343219 | 7 | 99.2 | 694.4
Filter, oil | 279260 | 14 | 26.9 | 376.6
Sensor, low fluid | 365289 | 1 | 51.3 | 51.3
17-275 kw, Accessories, Gas | TP-5708 | 1 | 7
135-275ZD/RFZD, Industrial | TP-5745 | 1 | 12
135-180 kw DDC Series 50 | TP-5832 | 1 | 12
Controllers, Industrial | TP-6009 | 1 | 12
|  |  | TOTAL | 3122.4
MODEL | 230RZD
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | 869 | 869
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
Heatsink | B-258549 | 1 | 228 | 228
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
PCB assembly, V/Hz regulator, FRII | A-354653 | 1 | 242 | 242
Indicator board | A-336432 | 1 | 256 | 256
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Hose, lower radiator (2.50" id) | 343289 | 1 | 55.1 | 55.1
Bypass Hose | X-356-35 | 1 | 20.8 | 20.8
Belt, V, 65.2 in. | 343623 | 1 | 9.1 | 9.1
Sender, oil pressure | 264390 | 1 | 38 | 38
Air cleaner, industrial | 343219 | 7 | 99.2 | 694.4
Filter, oil | 279260 | 14 | 26.9 | 376.6
Sensor, low fluid | 365289 | 1 | 51.3 | 51.3
17-275 kw, Accessories, Gas | TP-5708 | 1 | 7
135-275ZD/RFZD, Industrial | TP-5745 | 1 | 12
DDC Series 60 | TP-5844 | 1 | 12
Controllers, Industrial | TP-6009 | 1 | 12
|  |  | TOTAL | 3074.6
MODEL | 250RZD
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | 869 | 869
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
Heatsink | B-258549 | 1 | 228 | 228
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
PCB assembly, V/Hz regulator, FRII | A-354653 | 1 | 242 | 242
Indicator board | A-336432 | 1 | 256 | 256
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Hose, lower radiator (2.50" id) | 343289 | 1 | 55.1 | 55.1
Bypass Hose | X-356-35 | 1 | 20.8 | 20.8
Belt, V, 65.2 in. | 343623 | 1 | 9.1 | 9.1
Sender, oil pressure | 264390 | 1 | 38 | 38
Air cleaner, industrial | 343219 | 7 | 99.2 | 694.4
Filter, oil | 279260 | 14 | 26.9 | 376.6
Sensor, low fluid | 365289 | 1 | 51.3 | 51.3
17-275 kw, Accessories, Gas | TP-5708 | 1 | 7
135-275ZD/RFZD, Industrial | TP-5745 | 1 | 12
DDC Series 60 | TP-5844 | 1 | 12
Controllers, Industrial | TP-6009 | 1 | 12
|  |  | TOTAL | 3074.6
MODEL | 275RZD
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | 869 | 869
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
Heatsink | B-258549 | 1 | 228 | 228
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
PCB assembly, V/Hz regulator, FRII | A-354653 | 1 | 242 | 242
Indicator board | A-336432 | 1 | 256 | 256
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Hose, lower radiator (2.50" id) | 343289 | 1 | 55.1 | 55.1
Belt, V, 65.2 in. | 343623 | 1 | 9.1 | 9.1
Air cleaner, industrial | 343219 | 7 | 99.2 | 694.4
Filter, oil | 279260 | 14 | 26.9 | 376.6
Sensor, low fluid | 365289 | 1 | 51.3 | 51.3
17-275 kw, Accessories, Gas | TP-5708 | 1 | 7
135-275ZD/RFZD, Industrial | TP-5745 | 1 | 12
DDC Series 60 | TP-5844 | 1 | 12
Controllers, Industrial | TP-6009 | 1 | 12
|  |  | TOTAL | 3015.8
MODEL | 200 230 &250 | REOZD
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | 869 | 869
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
Heatsink | A-354299 | 1 | 514 | 514
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
PCB assembly, V/Hz regulator, FRII | A-354653 | 1 | 242 | 242
Indicator board | A-336432 | 1 | 256 | 256
Lamp, 28 V, 4.8 W | 283420 | 5 | 1.6 | 8
Hose, radiator | X-6014-88 | 1 | 106.6 | 106.6
Hose, lower radiator (2.50" id) | 343289 | 1 | 55.1 | 55.1
Hose | 343430 | 1 | 288 | 288
Belt, V, 65.2 in. | 343623 | 1 | 9.1 | 9.1
Air cleaner, industrial | 272982 | 7 | 98.3 | 688.1
Filter, primary fuel | 279262 | 7 | 7.8 | 54.6
Filter, oil | 343445 | 14 | 18.8 | 263.2
Sensor, low fluid | 365289 | 1 | 51.3 | 51.3
230-375 kw DDC Series 60 | TP-5979 | 1 | 12
Controllers, Industrial | TP-6009 | 1 | 12
Accessories, 23-2000 kw Diesel | TP-6117 | 1 | 7
|  |  | TOTAL | 3621.3
MODEL | 275 & 300REOZD
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | 869 | 869
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
Heatsink | A-354299 | 1 | 514 | 514
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
PCB assembly, V/Hz regulator, FRII | A-354653 | 1 | 242 | 242
Indicator board | A-336432 | 1 | 256 | 256
Lamp, 28 V, 4.8 W | 283420 | 5 | 1.6 | 8
Hose, radiator | X-6014-88 | 1 | 106.6 | 106.6
Hose, lower radiator (2.50" id) | 343289 | 1 | 55.1 | 55.1
Hose | 343430 | 1 | 288 | 288
Belt, V, 65.2 in. | 343623 | 1 | 9.1 | 9.1
Air cleaner, industrial | 272982 | 7 | 98.3 | 688.1
Filter, primary fuel | 279262 | 7 | 7.8 | 54.6
Filter, oil | 343445 | 14 | 18.8 | 263.2
Sensor, low fluid | 365289 | 1 | 51.3 | 51.3
230-375 kw DDC Series 60 | TP-5979 | 1 | 12
Controllers, Industrial | TP-6009 | 1 | 12
Accessories, 23-2000 kw Diesel | TP-6117 | 1 | 7
|  |  | TOTAL | 3621.3
MODEL | 350REOZD
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | 869 | 869
PCB assembly, V/Hz regulator, FRII | A-354653 | 1 | 242 | 242
Indicator board | A-336432 | 1 | 256 | 256
Lamp, 28 V, 4.8 W | 283420 | 5 | 1.6 | 8
Hose, radiator, straight, 1 in. ID | X-356-38 | 1 | 20.1 | 20.1
Hose, radiator | X-6014-88 | 1 | 106.6 | 106.6
Hose, lower radiator (2.50" id) | 343289 | 1 | 55.1 | 55.1
Belt, V, 65.2 in. | 343623 | 1 | 9.1 | 9.1
Air cleaner, industrial | 272982 | 7 | 98.3 | 688.1
Filter, primary fuel | 279262 | 7 | 7.8 | 54.6
Filter, oil | 343445 | 14 | 18.8 | 263.2
Sensor, low fluid | 365289 | 1 | 51.3 | 51.3
300-350 kw DDC Series 60 | TP-5980 | 1 | 12
350-400REOZD DDC S60 | TP-6005 | 1 | 12
Controllers, Industrial | TP-6009 | 1 | 12
Accessories, 230-2000kw Diesel | TP-6117 | 1 | 7
|  |  | TOTAL | 2634.6
MODEL | 375REOZD
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | 869 | 869
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
Heatsink | A-354299 | 1 | 514 | 514
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
PCB assembly, V/Hz regulator, FRII | A-354653 | 1 | 242 | 242
Indicator board | A-336432 | 1 | 256 | 256
Lamp, 28 V, 4.8 W | 283420 | 5 | 1.6 | 8
Hose, radiator | X-6014-88 | 1 | 106.6 | 106.6
Hose, lower radiator (2.50" id) | 343289 | 1 | 55.1 | 55.1
Hose | 343430 | 1 | 288 | 288
Belt, V, 65.2 in. | 343623 | 1 | 9.1 | 9.1
Air cleaner, industrial | 272982 | 7 | 98.3 | 688.1
Filter, primary fuel | 279262 | 7 | 7.8 | 54.6
Filter, oil | 343445 | 14 | 18.8 | 263.2
Sensor, low fluid | 365289 | 1 | 51.3 | 51.3
300-350 kw DDC Series 60 | TP-5980 | 1 | 12
350-400REOZD DDC S60 | TP-6005 | 1 | 12
Controllers, Industrial | TP-6009 | 1 | 12
Accessories, 230-2000kw Diesel | TP-6117 | 1 | 7
|  |  | TOTAL | 3621.3
MODEL | 400REOZD
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | 869 | 869
PCB assembly, V/Hz regulator, FRII | A-354653 | 1 | 242 | 242
Indicator board | A-336432 | 1 | 256 | 256
Lamp, 28 V, 4.8 W | 283420 | 5 | 1.6 | 8
Hose, radiator, straight, 1 in. ID | X-356-38 | 1 | 20.1 | 20.1
Hose, radiator | X-6014-88 | 1 | 106.6 | 106.6
Hose, lower radiator (2.50" id) | 343289 | 1 | 55.1 | 55.1
Belt, V, 65.2 in. | 343623 | 1 | 9.1 | 9.1
Air cleaner, industrial | 272982 | 7 | 98.3 | 688.1
Filter, secondary fuel | 279261 | 7 | 8.2 | 57.4
Filter, primary fuel | 279262 | 14 | 7.8 | 109.2
Sensor, low fluid | 365289 | 1 | 51.3 | 51.3
400 kw DDC Series 60 | TP-6047 | 1 | 12
350-400REOZD DDC S60 | TP-6005 | 1 | 12
Controllers, Industrial | TP-6009 | 1 | 12
Accessories, 230-2000kw Diesel | TP-6117 | 1 | 7
|  |  | TOTAL | 2483.4
MODEL | 450ROZD-4
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | 869 | 869
Voltage regulator, Marathon DVR2000 | GM37639 | 1 | 1214 | 1214
Indicator board | A-336432 | 1 | 256 | 256
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Hose, upper radiator ( 76.2mm id) | 361687 | 1 | 48.7 | 48.7
Hose, lower radiator (101.6mm id) | 361688 | 1 | 70.4 | 70.4
Hose, upper radiator ( 44.5mm id) | 361689 | 1 | 28.5 | 28.5
Hose, lower radiator (44.5mm id) | GM20168 | 1 | 48.4 | 48.4
Sender, Oil Pressure | 365624 | 1 | 98.2 | 98.2
Filter, air cleaner | 361693 | 14 | 82.1 | 1149.4
Filter, primary fuel | 328215 | 7 | 17.2 | 120.4
Filter, secondary fuel | 365014 | 7 | 15.9 | 111.3
Filter, Oil | GM13224 | 28 | 27.4 | 767.2
Sensor, low fluid | 365289 | 1 | 51.3 | 51.3
Lamp, 28 V, 4.8 W | 283420 | 5 | 1.6 | 8
Sender, Temperature | GM10166 | 1 | 16.1 | 16.1
Fan belt set | GM16809 | 1 | 62.8 | 62.8
Thermostat | GM16810 | 1 | 65.9 | 65.9
Gasket, thermostat | GM16811 | 1 | 6.4 | 6.4
Filter, Oil | GM13224 | 14 | 27.4 | 383.6
Injector | GM16813 | 4 | 759 | 3036
Controllers, Industrial | TP-6009 | 1 | 12
450REOZD/500-1000ROZD4 | TP-6021 | 1 | 12
500-600 Hz, 600-750 60Hz DDC | TP-6027 | 1 | 12
Accessories, 230-2000 kw Diesel | TP-6117 | 1 | 7
|  |  | TOTAL | 8434.1
MODEL | 500ROZD-4
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | 869 | 869
Voltage regulator, Marathon DVR2000 | GM37639 | 1 | 1214 | 1214
Indicator board | A-336432 | 1 | 256 | 256
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Hose, lower radiator (44.5mm id) | GM20168 | 1 | 48.4 | 48.4
Hose, upper radiator ( 44.5mm id) | 361689 | 1 | 28.5 | 28.5
Hose, lower radiator (101.6mm id) | 361688 | 1 | 70.4 | 70.4
Sender, Oil Pressure | 365624 | 1 | 98.2 | 98.2
Sender, Temperature | GM10166 | 1 | 16.1 | 16.1
Air cleaner, industrial | 343219 | 14 | 99.2 | 1388.8
Filter, primary fuel | 328215 | 7 | 17.2 | 120.4
Filter, secondary fuel | 365014 | 7 | 15.9 | 111.3
Filter, Oil | GM13224 | 28 | 27.4 | 767.2
Sensor, low fluid | 365289 | 1 | 51.3 | 51.3
Lamp, 28 V, 4.8 W | 283420 | 5 | 1.6 | 8
Sender, Temperature | GM10166 | 1 | 16.1 | 16.1
Alternator Belt Set | GM16809 | 1 | 62.8 | 62.8
Thermostat | GM16810 | 1 | 65.9 | 65.9
Gasket, thermostat | GM16811 | 1 | 6.4 | 6.4
Filter, Oil | GM13224 | 14 | 27.4 | 383.6
Injector | GM16813 | 4 | 759 | 3036
Controllers, Industrial | TP-6009 | 1 | 12
450REOZD/500-1000ROZD4 | TP-6021 | 1 | 12
450 kw 50-60Hz, 500kw, DDC 16V200 | TP-6026 | 1 | 12
Accessories, 230-2000 kw Diesel | TP-6117 | 1 | 7
|  |  | TOTAL | 8640.9
MODEL | 600ROZD-4
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 5 A, 250 V | 239298 | 5 | 0.8 | 4
Main circuit board | GM28725 | 1 | 869 | 869
PCB assembly, pulse counter, DDEC | C-354647 | 1 | 193.7 | 193.7
Voltage regulator, Marathon DVR2000 | GM37639 | 1 | 1214 | 1214
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Hose, radiator | 361556 | 1 | 69.5 | 69.5
Hose, radiator, straight, 1 in. ID | X-356-38 | 1 | 20.1 | 20.1
Hose, radiator | X-507-6 | 1 | 14.7 | 14.7
Sender, Oil Pressure | 365624 | 1 | 98.2 | 98.2
Sender, Temperature | GM10166 | 1 | 16.1 | 16.1
Air cleaner, industrial | 272982 | 14 | 98.3 | 1376.2
Filter, secondary fuel | 365014 | 14 | 15.9 | 222.6
Filter, Oil | GM13224 | 28 | 27.4 | 767.2
Sensor, low fluid | 365289 | 1 | 51.3 | 51.3
Lamp, 28 V, 4.8 W | 283420 | 5 | 1.6 | 8
Thermostat | 328585 | 1 | 92.2 | 92.2
Sender, Temperature | GM10166 | 1 | 16.1 | 16.1
Controllers, Industrial | TP-6009 | 1 | 12
450REOZD/500-1000ROZD4 | TP-6021 | 1 | 12
500-600 Hz, 600-750 60Hz DDC | TP-6027 | 1 | 12
Accessories, 230-2000 kw Diesel | TP-6117 | 1 | 7
|  |  | TOTAL | 5048.4
MODEL | 750ROZD-4
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 5 A, 250 V | 239298 | 5 | 0.8 | 4
Main circuit board | GM28725 | 1 | 869 | 869
PCB assembly, pulse counter, DDEC | C-354647 | 1 | 193.7 | 193.7
Voltage regulator, Marathon DVR2000 | GM37639 | 1 | 1214 | 1214
Indicator board | A-336432 | 1 | 256 | 256
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Hose, radiator | X-507-6 | 1 | 14.7 | 14.7
Hose, molded coolant (101.6mm id) | 361736 | 1 | 100.8 | 100.8
Hose, radiator | 365612 | 1 | 25.3 | 25.3
Sender, Oil Pressure | 365624 | 1 | 98.2 | 98.2
Sender, Temperature | GM10166 | 1 | 16.1 | 16.1
Air cleaner, industrial | 272982 | 28 | 98.3 | 2752.4
Filter, secondary fuel | 365014 | 14 | 15.9 | 222.6
Filter, Oil | GM13224 | 40 | 27.4 | 1096
Sensor, low fluid | 365289 | 1 | 51.3 | 51.3
Thermostat | 328585 | 1 | 92.2 | 92.2
Lamp, 28 V, 4.8 W | 283420 | 5 | 1.6 | 8
Controllers, Industrial | TP-6009 | 1 | 12
450REOZD/500-1000ROZD4 | TP-6021 | 1 | 12
500-600 Hz, 600-750 60Hz DDC | TP-6027 | 1 | 12
Accessories, 230-2000 kw Diesel | TP-6117 | 1 | 7
|  |  | TOTAL | 7029.8
MODEL | 800ROZD-4
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | 869 | 869
PCB assembly, pulse counter, DDEC | C-354647 | 1 | 193.7 | 193.7
Voltage regulator, Marathon DVR2000 | GM37639 | 1 | 1214 | 1214
Indicator board | A-336432 | 1 | 256 | 256
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Hose, radiator | X-356-39 | 1 | 20.1 | 20.1
Hose, molded coolant (101.6mm id) | 361736 | 1 | 100.8 | 100.8
Hose, radiator | X-507-6 | 1 | 14.7 | 14.7
Sender, Oil Pressure | 365624 | 1 | 98.2 | 98.2
Sender, Temperature | GM10166 | 1 | 16.1 | 16.1
Air cleaner, industrial | 272982 | 28 | 98.3 | 2752.4
Filter, secondary fuel | 365014 | 14 | 15.9 | 222.6
Filter, Oil | GM13224 | 40 | 27.4 | 1096
Lamp, 28 V, 4.8 W | 283420 | 5 | 1.6 | 8
Sensor, low fluid | 365289 | 1 | 51.3 | 51.3
Thermostat | 328585 | 1 | 92.2 | 92.2
Sender, Temperature | GM10166 | 1 | 16.1 | 16.1
Controllers, Industrial | TP-6009 | 1 | 12
450REOZD/500-1000ROZD4 | TP-6021 | 1 | 12
750-900 50Hz, 800-1000 60Hz DDC | TP-6028 | 1 | 12
Accessories, 230-2000 kw Diesel | TP-6117 | 1 | 7
|  |  | TOTAL | 6928.4
MODEL | 900ROZD-4
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | 869 | 869
PCB assembly, pulse counter, DDEC | C-354647 | 1 | 193.7 | 193.7
Voltage regulator, Marathon DVR2000 | GM37639 | 1 | 1214 | 1214
Indicator board | A-336432 | 1 | 256 | 256
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Hose, radiator, straight, 2 in. ID | X-281-31 | 1 | 6.7 | 6.7
Hose, molded coolant (101.6mm id) | 361736 | 1 | 100.8 | 100.8
Hose | X-311-12 | 1 | 8.8 | 8.8
Air cleaner, industrial | 272982 | 28 | 98.3 | 2752.4
Filter, secondary fuel | 365014 | 14 | 15.9 | 222.6
Filter, Oil | GM13224 | 40 | 27.4 | 1096
Hose | X-507-6 | 1 | 14.7 | 14.7
Sensor, low fluid | 365289 | 1 | 51.3 | 51.3
Sender, Oil Pressure | 365624 | 1 | 98.2 | 98.2
Thermostat | 328585 | 1 | 92.2 | 92.2
Sender, Temperature | GM10166 | 1 | 16.1 | 16.1
Controllers, Industrial | TP-6009 | 1 | 12
450REOZD/500-1000ROZD4 | TP-6021 | 1 | 12
750-900 50Hz, 800-1000 60Hz DDC | TP-6028 | 1 | 12
Accessories, 230-2000 kw Diesel | TP-6117 | 1 | 7
|  |  | TOTAL | 7015
MODEL | 1000ROZD-4
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | 869 | 869
PCB assembly, pulse counter, DDEC | C-354647 | 1 | 193.7 | 193.7
Voltage regulator, Marathon DVR2000 | GM37639 | 1 | 1214 | 1214
Indicator board | A-336432 | 1 | 256 | 256
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Hose, radiator | X-311-12 | 1 | 8.8 | 8.8
Hose, molded coolant (101.6mm id) | 361736 | 1 | 100.8 | 100.8
Hose | X-507-6 | 1 | 14.7 | 14.7
Air cleaner, industrial | 272981 | 28 | 92.1 | 2578.8
Filter, secondary fuel | 365014 | 14 | 15.9 | 222.6
Filter, Oil | GM13224 | 40 | 27.4 | 1096
Lamp, 28 V, 4.8 W | 283420 | 5 | 1.6 | 8
Sensor, low fluid | 365289 | 1 | 51.3 | 51.3
Sender, Oil Pressure | 365624 | 1 | 98.2 | 98.2
Sender, Temperature | GM10166 | 1 | 16.1 | 16.1
Thermostat | 328585 | 1 | 92.2 | 92.2
Controllers, Industrial | TP-6009 | 1 | 12
450REOZD/500-1000ROZD4 | TP-6021 | 1 | 12
750-900 50Hz, 800-1000 60Hz DDC | TP-6028 | 1 | 12
Accessories, 230-2000 kw Diesel | TP-6117 | 1 | 7
|  |  | TOTAL | 6842.7
MODEL | 1250ROZD-4
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | 869 | 869
PCB assembly, pulse counter, DDEC | C-354647 | 1 | 193.7 | 193.7
Voltage regulator, Marathon DVR2000 | GM37639 | 1 | 1214 | 1214
Indicator board | A-336432 | 1 | 256 | 256
Lamp, 28 V, 4.8 W | 283420 | 5 | 1.6 | 8
Hose, radiator | X-424-10 | 1 | 11.4 | 11.4
Hose, radiator | X-6014-95 | 1 | 68.9 | 68.9
Hose | X-6014-96 | 1 | 79.6 | 79.6
Belt, poly V, 81.5 in. | GM14186 | 1 | 128.8 | 128.8
Hose | X-6350-2 | 1 | 14.1 | 14.1
Air cleaner, industrial | 272981 | 20 | 92.1 | 1842
Filter, secondary fuel | 365014 | 28 | 15.9 | 445.2
Filter, oil | 365012 | 40 | 28.6 | 1144
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Sensor, low fluid | 254832 | 1 | 46 | 46
Sender, Oil Pressure | 365624 | 1 | 98.2 | 98.2
Sender, Temperature | GM10166 | 1 | 16.1 | 16.1
Thermostat | GM16808 | 1 | 105.4 | 105.4
Controllers, Industrial | TP-6009 | 1 | 12
1250-1500 kw DDC Series 4000 | TP-6021 | 1 | 12
1250-2000ROZD4 | TP-6027 | 1 | 12
Accessories, 230-2000 kw Diesel | TP-6117 | 1 | 7
|  |  | TOTAL | 6562.9
MODEL | 1500ROZD-4
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | 869 | 869
Indicator board | A-336432 | 1 | 256 | 256
PCB assembly, pulse counter, DDEC | C-354647 | 1 | 193.7 | 193.7
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
Voltage regulator, Marathon DVR2000 | GM37639 | 1 | 1214 | 1214
Lamp, 28 V, 4.8 W | 283420 | 5 | 1.6 | 8
Hose, radiator | X-6014-69 | 1 | 13.6 | 13.6
Hose, radiator | X-6014-91 | 1 | 16.2 | 16.2
Hose, radiator | X-6014-92 | 1 | 24.5 | 24.5
Sensor, low fluid | 254832 | 1 | 46 | 46
Air cleaner, industrial | 272981 | 40 | 92.1 | 3684
Filter, secondary fuel | 365014 | 21 | 15.9 | 333.9
Filter, oil | 365012 | 40 | 28.6 | 1144
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Sender, Oil Pressure | 365624 | 1 | 98.2 | 98.2
Sender, Temperature | GM10166 | 1 | 16.1 | 16.1
Thermostat | GM16808 | 1 | 105.4 | 105.4
Controllers, Industrial | TP-6009 | 1 | 12
1250-1500 kw DDC Series 4000 | TP-6021 | 1 | 12
1250-2000ROZD4 | TP-6027 | 1 | 12
Accessories, 230-2000 kw Diesel | TP-6117 | 1 | 7
|  |  | TOTAL | 8091.7
MODEL | 1750ROZD-4
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | 869 | 869
Indicator board | A-336432 | 1 | 256 | 256
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
Voltage regulator, Marathon DVR2000 | GM37639 | 1 | 1214 | 1214
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Hose | X-6014-91 | 1 | 16.2 | 16.2
Hose, radiator | X-6014-69 | 1 | 13.6 | 13.6
Hose, radiator | X-424-10 | 1 | 11.4 | 11.4
Belt, poly V, 91.5 in. | 361201 | 1 | 195.7 | 195.7
Air cleaner, industrial | 272981 | 52 | 92.1 | 4789.2
Filter, secondary fuel | 365014 | 13 | 15.9 | 206.7
Filter, oil | 365012 | 52 | 28.6 | 1487.2
Sensor, low fluid | 254832 | 1 | 46 | 46
Sensor, liquid level | 354113 | 1 | 33.5 | 33.5
Hose | X-6014-92 | 1 | 24.5 | 24.5
Hose | X-6014-94 | 1 | 111.6 | 111.6
Sender, Oil Pressure | 365624 | 1 | 98.2 | 98.2
Sender, Temperature | GM10166 | 1 | 16.1 | 16.1
Thermostat | GM16808 | 1 | 105.4 | 105.4
Controllers, Industrial | TP-6009 | 1 | 12
1750-1500 kw DDC Series 4000 | TP-6021 | 1 | 12
1250-2000ROZD4 | TP-6027 | 1 | 12
Accessories, 230-2000 kw Diesel | TP-6117 | 1 | 7
|  |  | TOTAL | 9563.4
MODEL | 2000ROZD-4
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | 869 | 869
Indicator board | A-336432 | 1 | 256 | 256
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
Voltage regulator, Marathon DVR2000 | GM37639 | 1 | 1214 | 1214
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Hose, radiator | X-6014-94 | 2 | 111.6 | 223.2
Belt | 361261 | 1 | 195.1 | 195.1
Air cleaner, industrial | 272981 | 52 | 92.1 | 4789.2
Filter, secondary fuel | 365014 | 13 | 15.9 | 206.7
Filter, oil | 365012 | 52 | 28.6 | 1487.2
Sensor, low fluid | 254832 | 1 | 46 | 46
Hose, radiator | X-6014-91 | 2 | 16.2 | 32.4
Lamp, 28 V, 4.8 W | 283420 | 5 | 1.6 | 8
Sensor, liquid level | 354113 | 1 | 33.5 | 33.5
Hose, radiator | X-6014-69 | 1 | 13.6 | 13.6
Sender, Oil Pressure | 365624 | 1 | 98.2 | 98.2
Sender, Temperature | GM10166 | 1 | 16.1 | 16.1
Thermostat | GM16808 | 1 | 105.4 | 105.4
Controllers, Industrial | TP-6009 | 1 | 12
1750-1500 kw DDC Series 4000 | TP-6021 | 1 | 12
1250-2000ROZD4 | TP-6027 | 1 | 12
Accessories, 230-2000 kw Diesel | TP-6117 | 1 | 7
|  |  | TOTAL | 9662.7