## ROZK
Note: Recommended spares lists are based on most common modules. Specifications and modules vary. Verify the part numbers against the parts catalog prior to ordering parts to be sure you are ordering the part numbers corresponding to your configuration.
MODEL | 70ROZK
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | 869 | 869
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
Heatsink | B-258549 | 1 | 228 | 228
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | 242 | 242
Indicator board | A-336432 | 1 | 256 | 256
Speed sensor | 241927 | 1 | 69.1 | 69.1
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Hose, upper radiator | 364027 | 1 | 112 | 112
Hose, lower radiator | 364028 | 1 | 127.5 | 127.5
Alternator Belt Set | GM12761 | 1 | 20.7 | 20.7
Element, air cleaner | 253108 | 7 | 28.5 | 199.5
Filter, primary fuel | GM12855 | 7 | 390 | 2730
Filter, Oil | GM12718 | 14 | 10.7 | 149.8
Injector nozzle | GM12870 | 1 | 152.5 | 152.5
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
Controllers | TP-6009 | 1 | 12
20-150 ROZK | TP-6029 | 1 | 12
70-170 kw Deutz | TP-6041 | 1 | 12
Accessories | TP-6116 | 1 | 7
|  |  | TOTAL | 5394.4
MODEL | 115ROZK
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | 869 | 869
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
Heatsink | A-354299 | 1 | 514 | 514
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
PCB assembly, FRII voltage/Hz reg. | A-354653 | 1 | 242 | 242
Indicator board | A-336432 | 1 | 256 | 256
Speed sensor | 241927 | 1 | 69.1 | 69.1
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Belt | GM12761 | 1 | 20.7 | 20.7
Air cleaner | 253108 | 7 | 28.5 | 199.5
Filter, primary fuel | GM12710 | 7 | 95.7 | 669.9
Filter, Oil | GM12719 | 14 | 17.4 | 243.6
Belt | GM12769 | 1 | 33.3 | 33.3
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
Thermostat | GM13845 | 2 | 60.9 | 121.8
Controllers | TP-6009 | 1 | 12
20-150 ROZK | TP-6029 | 1 | 12
70-170 kw Deutz | TP-6041 | 1 | 12
Accessories | TP-6116 | 1 | 7
|  |  | TOTAL | 3477.2
MODEL | 170ROZK
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | 869 | 869
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
Heatsink | A-354299 | 1 | 514 | 514
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
PCB assembly, FRII voltage/Hz reg. | A-354653 | 1 | 242 | 242
Indicator board | A-336432 | 1 | 256 | 256
Speed sensor | 241927 | 1 | 69.1 | 69.1
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Hose, upper radiator | GM10633 | 1 | 25.1 | 25.1
Hose, lower radiator | GM10634 | 1 | 33.9 | 33.9
Belt | GM12761 | 1 | 20.7 | 20.7
Air cleaner | 343219 | 7 | 99.2 | 694.4
Filter, primary fuel | GM13800 | 7 | 15.1 | 105.7
Filter, Oil | GM12719 | 14 | 17.4 | 243.6
Belt | GM12769 | 1 | 33.3 | 33.3
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
Low fluid sensor | 365289 | 1 | 51.3 | 51.3
Thermostat | GM13845 | 2 | 60.9 | 121.8
Controllers | TP-6009 | 1 | 12
20-150 ROZK | TP-6029 | 1 | 12
70-170 kw Deutz | TP-6041 | 1 | 12
Accessories | TP-6116 | 1 | 7
|  |  | TOTAL | 3518.2