## RY&RZ
Note: Recommended spares lists are based on most common modules. Specifications and modules vary. Verify the part numbers against the parts catalog prior to ordering parts to be sure you are ordering the part numbers corresponding to your configuration.
MODEL | 10RY
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | G-292806 | 1 | 739 | 739
Kit, voltage regulator | F-228605 | 1 | 169.9 | 169.9
PCB assembly, 6-light indicator | B-292381 | 1 | 273 | 273
Speed sensor | 358385 | 1 | 89.5 | 89.5
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Hose, upper radiator (1.5 in. id) | X-304-2 | 1 | 5.3 | 5.3
Hose, lower radiator (1.75" ID) | 226637 | 1 | 8.8 | 8.8
Belt, V, 34 in. | 254782 | 1 | 4.7 | 4.7
Thermostat | 249930 | 1 | 24.8 | 24.8
Element, air cleaner | 278858 | 4 | 4.7 | 18.8
Filter, oil | 279218 | 8 | 4.9 | 39.2
Brush | 239282 | 2 | 5.3 | 10.6
Brush Holder | 239247 | 1 | 21.6 | 21.6
Spring, stainless steel | 238150 | 2 | 1.7 | 3.4
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
|  |  | TOTAL | 1439.1
MODEL | 12RY
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | G-292806 | 1 | 739 | 739
Governor assembly, electronic | B-226400 | 1 | 248 | 248
Kit, voltage regulator | F-228605 | 1 | 169.9 | 169.9
PCB assembly, 6-light indicator | B-292381 | 1 | 273 | 273
Speed sensor | 358385 | 1 | 89.5 | 89.5
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
Hose, upper radiator (1.5 in. id) | X-304-2 | 1 | 5.3 | 5.3
Hose, lower radiator (1.75" ID) | 226637 | 1 | 8.8 | 8.8
Belt, V, 34 in. | 254782 | 1 | 4.7 | 4.7
Thermostat | 249930 | 1 | 24.8 | 24.8
Element, air cleaner | 278858 | 4 | 4.7 | 18.8
Filter, oil | 279218 | 8 | 4.9 | 39.2
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Brush | 239282 | 2 | 5.3 | 10.6
Brush Holder | 239247 | 1 | 21.6 | 21.6
Spring, stainless steel | 238150 | 1 | 1.7 | 1.7
|  |  | TOTAL | 1685.4
MODEL | 17RY | DEC 1 RELAY CONTROLLER
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
Fuse, 5 amp | 358336 | 5 | 3 | 15
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
PCB Assy, Relay Control Board | B-358095 | 1 | 270 | 270
Governor assy, electronic | B-358279 | 1 | 258 | 258
Kit, voltage regulator | F-228605 | 1 | 169.9 | 169.9
PCB assembly, cyclic crank | C-284507 | 1 | 106.3 | 106.3
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Hose, upper radiator (1.25" id) | 226318 | 1 | 9.9 | 9.9
Hose, Lower radiator (1.25" id) | 358162 | 1 | 30.8 | 30.8
Belt, V, 34 in. | 254782 | 1 | 4.7 | 4.7
Thermostat | 249930 | 1 | 24.8 | 24.8
Element, air cleaner | 254772 | 4 | 28.9 | 115.6
Filter, oil | 279218 | 8 | 4.9 | 39.2
Lamp, 14 V, .33 W | 269373 | 5 | 6.5 | 32.5
Brush | 239282 | 4 | 5.3 | 21.2
Brush Holder | 239247 | 2 | 21.6 | 43.2
Spring, stainless steel | 238150 | 4 | 1.7 | 6.8
|  |  | TOTAL | 1167.4
MODEL | 18RY | 5 LIGHT CONTROLLER
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | G-292806 | 1 | 739 | 739
Kit, voltage regulator | F-228605 | 1 | 169.9 | 169.9
PCB assembly, 6-light indicator | B-292381 | 1 | 273 | 273
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Hose, upper radiator | 326422 | 1 | 25.2 | 25.2
Hose, lower radiator (1.5in. Id) | X-304-11 | 1 | 6.2 | 6.2
Belt, poly V, 44.5 in. | 326320 | 1 | 26.4 | 26.4
Thermostat | 249930 | 1 | 24.8 | 24.8
Element, air cleaner | 258423 | 4 | 9.7 | 38.8
Filter, oil | 279218 | 8 | 4.9 | 39.2
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
|  |  | TOTAL | 1373
MODEL | 22RY | DEC 1 RELAY CONTROLLER
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
Governor assy, electronic | B-358279 | 1 | 258 | 258
PCB Assy, Relay Control Board | B-358095 | 1 | 270 | 270
Kit, voltage regulator | F-228605 | 1 | 169.9 | 169.9
PCB assembly, cyclic crank | C-284507 | 1 | 106.3 | 106.3
Lamp, 14 V, .33 W | 269373 | 5 | 6.5 | 32.5
Hose, upper radiator (1.25" id) | 226318 | 1 | 9.9 | 9.9
Hose, Lower radiator (1.25" id) | 358162 | 1 | 30.8 | 30.8
Belt, V, 34 in. | 254782 | 1 | 4.7 | 4.7
Thermostat | 249930 | 1 | 24.8 | 24.8
Element, air cleaner | 254772 | 4 | 28.9 | 115.6
Filter, oil | 279218 | 8 | 4.9 | 39.2
|  |  | TOTAL | 1065.7
MODEL | 10RZ
5 LIGHT CONTROLLER
RAD. MOUNTED
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | G-292806 | 1 | 739 | 739
Bridge rectifier board | 228674 | 1 | 141.8 | 141.8
PCB assembly, voltage regulator, PBV | B-258296 | 1 | 489 | 489
PCB assembly, 6-light indicator | B-292381 | 1 | 273 | 273
Speed sensor | 241927 | 1 | 69.1 | 69.1
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Hose, upper radiator (1.5 in. id) | X-304-2 | 1 | 5.3 | 5.3
Hose, lower radiator (1.75" ID) | 226637 | 1 | 8.8 | 8.8
Belt, V, 34 in. | 254782 | 1 | 4.7 | 4.7
Thermostat | 249930 | 1 | 24.8 | 24.8
Element, air cleaner | 278858 | 4 | 4.7 | 18.8
Filter, oil | 279218 | 8 | 4.9 | 39.2
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
Governor assembly, electronic | B-226400 | 1 | 248 | 248
|  |  | TOTAL | 2092
MODEL | 12RZ
5 LIGHT CONTROLLER
RAD. MOUNTED
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | G-292806 | 1 | 739 | 739
Governor assembly, electronic | B-226400 | 1 | 248 | 248
Bridge rectifier board | 228674 | 1 | 141.8 | 141.8
PCB assembly, voltage regulator, PBV | B-258296 | 1 | 489 | 489
PCB assembly, 6-light indicator | B-292381 | 1 | 273 | 273
Speed sensor | 241927 | 1 | 69.1 | 69.1
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Hose, upper radiator (1.5 in. id) | X-304-2 | 1 | 5.3 | 5.3
Hose, lower radiator (1.75" ID) | 226637 | 1 | 8.8 | 8.8
Belt, V, 34 in. | 254782 | 1 | 4.7 | 4.7
Thermostat | 249930 | 1 | 24.8 | 24.8
Element, air cleaner | 278858 | 4 | 4.7 | 18.8
Filter, oil | 279218 | 8 | 4.9 | 39.2
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
Governor assembly, electronic | B-226400 | 1 | 248 | 248
|  |  | TOTAL | 2336
MODEL | 18RZ
DEC. 1 RELAY CONTROLLER
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
Governor board | A-249922 | 1 | 365 | 365
Bridge rectifier board | 228674 | 1 | 141.8 | 141.8
Relay control board | F-254717 | 1 | 270 | 270
PCB assembly, voltage regulator, PBV | B-258296 | 1 | 489 | 489
PCB assembly, cyclic crank | C-284507 | 1 | 106.3 | 106.3
Lamp, 14 V, .33 W | 269373 | 5 | 6.5 | 32.5
Hose, upper radiator | 326422 | 1 | 25.2 | 25.2
Hose, lower radiator (1.5in. Id) | X-304-11 | 1 | 6.2 | 6.2
Belt, poly V, 44.5 in. | 326320 | 1 | 26.4 | 26.4
Thermostat | 249930 | 1 | 24.8 | 24.8
Element, air cleaner | 258423 | 4 | 9.7 | 38.8
Filter, oil | 279218 | 8 | 4.9 | 39.2
|  |  | TOTAL | 1569.2
MODEL | 20RZ
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | 869 | 869
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
Heatsink | B-258545 | 1 | 236 | 236
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | 242 | 242
Indicator board | A-336432 | 1 | 256 | 256
Speed sensor | 241927 | 1 | 69.1 | 69.1
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
Hose, upper radiator (1.50" id) | 326356 | 1 | 10.6 | 10.6
Hose, lower radiator (1.50" ID) | 326357 | 1 | 15.8 | 15.8
Belt, poly V, 44.5 in. | 326320 | 1 | 26.4 | 26.4
Element, air cleaner | 258423 | 4 | 9.7 | 38.8
Filter, oil | 279449 | 8 | 7.6 | 60.8
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
|  |  | TOTAL | 2062.8
MODEL | 30RZ
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | 869 | 869
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
Heatsink | B-258545 | 1 | 236 | 236
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | 242 | 242
Indicator board | A-336432 | 1 | 256 | 256
Speed sensor | 241927 | 1 | 69.1 | 69.1
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
Hose, upper radiator (1.50" id) | 273417 | 1 | 6 | 6
Hose, lower radiator (1.88" id) | 326003 | 1 | 17.5 | 17.5
Belt, V, 41 in. | 276142 | 1 | 38.2 | 38.2
Thermostat | 276162-S | 1 | 29 | 29
Element, air cleaner | 258423 | 4 | 9.7 | 38.8
Filter, oil | 279449 | 8 | 7.6 | 60.8
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
|  |  | TOTAL | 2096.2
MODEL | 35RZ
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | 869 | 869
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
Heatsink | B-258545 | 1 | 236 | 236
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | 242 | 242
Indicator board | A-336432 | 1 | 256 | 256
Speed sensor | 241927 | 1 | 69.1 | 69.1
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
Hose, upper radiator (1.50" id) | 273417 | 1 | 6 | 6
Hose, lower radiator (1.88" id) | 326003 | 1 | 17.5 | 17.5
Belt, V, 41 in. | 276142 | 1 | 38.2 | 38.2
Thermostat | 276162-S | 1 | 29 | 29
Element, air cleaner | 326099 | 4 | 15.1 | 60.4
Filter, oil | 279449 | 8 | 7.6 | 60.8
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
|  |  | TOTAL | 2117.8
MODEL | 45RZ
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | 869 | 869
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
Heatsink | B-258545 | 1 | 236 | 236
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | 242 | 242
Indicator board | A-336432 | 1 | 256 | 256
Speed sensor | 241927 | 1 | 69.1 | 69.1
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
Hose, upper radiator (1.50" id) | 273417 | 1 | 6 | 6
Hose, lower radiator (1.88" id) | 326003 | 1 | 17.5 | 17.5
Belt, V, 41 in. | 276142 | 1 | 38.2 | 38.2
Thermostat | 276162-S | 1 | 29 | 29
Element, air cleaner | 326099 | 4 | 15.1 | 60.4
Filter, oil | 279449 | 8 | 7.6 | 60.8
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
|  |  | TOTAL | 2117.8
MODEL | 50RZ
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | 869 | 869
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
Heatsink | B-258545 | 1 | 236 | 236
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | 242 | 242
Indicator board | A-336432 | 1 | 256 | 256
Speed sensor | 241927 | 1 | 69.1 | 69.1
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
Hose, upper radiator (1.50" id) | 276488 | 1 | 12.2 | 12.2
Hose, lower radiator (2.00" id) | 276489 | 1 | 19.2 | 19.2
Belt, V, 42 in. | 258955 | 1 | 9.3 | 9.3
Element, air filter | 326098 | 4 | 37 | 148
Filter, oil | 279449 | 8 | 7.6 | 60.8
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
|  |  | TOTAL | 2159.9
MODEL | 60RZ
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | 869 | 869
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
Heatsink | B-258545 | 1 | 236 | 236
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | 242 | 242
Indicator board | A-336432 | 1 | 256 | 256
Speed sensor | 241927 | 1 | 69.1 | 69.1
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
Hose, upper radiator (1.50" id) | 276488 | 1 | 12.2 | 12.2
Hose, lower radiator (2.00" id) | 276489 | 1 | 19.2 | 19.2
Belt, V, 42 in. | 258955 | 1 | 9.3 | 9.3
Element, air filter | 326098 | 4 | 37 | 148
Filter, oil | 279449 | 8 | 7.6 | 60.8
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
|  |  | TOTAL | 2159.9
MODEL | 70RZ
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | 869 | 869
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
Heatsink | B-258545 | 1 | 236 | 236
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | 242 | 242
Indicator board | A-336432 | 1 | 256 | 256
Speed sensor | 241927 | 1 | 69.1 | 69.1
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
Hose, upper radiator (1.50" id) | 276488 | 1 | 12.2 | 12.2
Hose, lower radiator (2.00" id) | 276489 | 1 | 19.2 | 19.2
Belt, V, 42 in. | 258955 | 1 | 9.3 | 9.3
Element, air filter | 326098 | 4 | 37 | 148
Filter, oil | 279449 | 8 | 7.6 | 60.8
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
|  |  | TOTAL | 2159.9
MODEL | 80RZ
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | 869 | 869
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
Heatsink | B-258549 | 1 | 228 | 228
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | 242 | 242
Indicator board | A-336432 | 1 | 256 | 256
Speed sensor | 241927 | 1 | 69.1 | 69.1
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
Hose, upper radiator (1.50" id) | 276488 | 1 | 12.2 | 12.2
Hose, lower radiator (2.00" id) | 276489 | 1 | 19.2 | 19.2
Belt, V, 42 in. | 258955 | 1 | 9.3 | 9.3
Element, air cleaner | 324134 | 4 | 55.9 | 223.6
Filter, oil | 279449 | 8 | 7.6 | 60.8
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
|  |  | TOTAL | 2227.5
MODEL | 100RZ
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | 869 | 869
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
Heatsink | B-258549 | 1 | 228 | 228
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | 242 | 242
Indicator board | A-336432 | 1 | 256 | 256
Speed sensor | 241927 | 1 | 69.1 | 69.1
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
Hose, upper radiator (1.50" id) | 276488 | 1 | 12.2 | 12.2
Hose, lower radiator (2.00" id) | 276489 | 1 | 19.2 | 19.2
Belt, V, 42 in. | 258955 | 1 | 9.3 | 9.3
Element, air cleaner | 324134 | 4 | 55.9 | 223.6
Filter, oil | 279449 | 8 | 7.6 | 60.8
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
|  |  | TOTAL | 2227.5