## FORD
Note: Recommended spares lists are based on most common modules. Specifications and modules vary. Verify the part numbers against the parts catalog prior to ordering parts to be sure you are ordering the part numbers corresponding to your configuration
200 HOURS OR ONCE A YEAR, WHICHEVER OCCURS FIRST.
MODEL | 10RY
SPEC NUMBER | 110438
ENGINE MANUFACTURER | FORD
ENGINE MODEL | VSG-411
List
Description | Part No. | Qty | Ea. | Extended
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
Sensor, speed | 254842 | 1 | 96.1 | 96.1
Kit, voltage regulator | F-228605 | 1 | 169.9 | 169.9
Element, air cleaner | 254772 | 4 | 28.9 | 115.6
Filter, oil | 279218 | 8 | 4.9 | 39.2
424.8
MODEL | 10RY
SPEC NUMBER | 110462
ENGINE MANUFACTURER | FORD
ENGINE MODEL | VSG-411
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
Kit, voltage regulator | F-228605 | 1 | 169.9 | 169.9
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
Sensor, speed | 254842 | 1 | 96.1 | 96.1
Element, air cleaner | 278858 | 4 | 4.7 | 18.8
Filter, oil | 279218 | 8 | 4.9 | 39.2
328
MODEL | 10RY
SPEC NUMBER | 110464, 110465
ENGINE MANUFACTURER | FORD
ENGINE MODEL | VSG-411
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
PCB assembly, voltage regulator, PBV | B-258296 | 1 | 489 | 489
Kit, board service | 228674 | 1 | 141.8 | 141.8
Kit, sensor | 241927 | 1 | 69.1 | 69.1
Element, air cleaner | 278858 | 4 | 4.7 | 18.8
Filter, oil | 279218 | 8 | 4.9 | 39.2
757.9
MODEL | 10RY
SPEC NUMBER | 110470, 110472, 110474
ENGINE MANUFACTURER | FORD
ENGINE MODEL | VSG-411
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
Thermostat | 249930 | 1 | 24.8 | 24.8
Kit, voltage regulator | F-228605 | 1 | 169.9 | 169.9
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
Belt, V ( 34 in.) | 254782 | 1 | 4.7 | 4.7
Hose, radiator, straight, 1.5 in. ID | X-304-2 | 1 | 5.3 | 5.3
Hose, lower radiator (1.75" ID) | 226637 | 1 | 8.8 | 8.8
Kit, circuit board | 254844 | 1 | 270 | 270
Sensor, speed | 254842 | 1 | 96.1 | 96.1
Element, air cleaner | 278858 | 4 | 4.7 | 18.8
Filter, oil | 279218 | 8 | 4.9 | 39.2
PCB assembly, cyclic crank | C-284507 | 1 | 106.3 | 106.3
Lamp, 14 V, .33 W | 269373 | 5 | 6.5 | 32.5
780.4
MODEL | 10RZ
SPEC NUMBER | 110471
ENGINE MANUFACTURER | FORD
ENGINE MODEL | VSG-411
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
Belt, V ( 34 in.) | 254782 | 1 | 4.7 | 4.7
PCB assembly, voltage regulator, PBV | B-258296 | 1 | 489 | 489
Kit, sensor | 241927 | 1 | 69.1 | 69.1
Hose, radiator, straight, 1.5 in. ID | X-304-2 | 1 | 5.3 | 5.3
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
Hose, lower radiator (1.75" ID) | 226637 | 1 | 8.8 | 8.8
Thermostat | 249930 | 1 | 24.8 | 24.8
Kit, board service | 228674 | 1 | 141.8 | 141.8
Kit, circuit board | 254844 | 1 | 270 | 270
Lamp, 14 V, .33 W | 269373 | 5 | 6.5 | 32.5
PCB assembly, cyclic crank | C-284507 | 1 | 106.3 | 106.3
Filter, oil | 279218 | 8 | 4.9 | 39.2
Element, air cleaner | 278858 | 4 | 4.7 | 18.8
1214.3
MODEL | 10RZ
SPEC NUMBER | 110439, 110440
ENGINE MANUFACTURER | FORD
ENGINE MODEL | VSG-411
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
Kit, board service | 228674 | 1 | 141.8 | 141.8
Element, air cleaner | 254772 | 4 | 28.9 | 115.6
PCB, governor assembly | A-249922 | 1 | 365 | 365
PCB assembly, voltage regulator, PBV | B-258296 | 1 | 489 | 489
Kit, sensor | 241927 | 1 | 69.1 | 69.1
Filter, oil | 279218 | 8 | 4.9 | 39.2
1219.7
MODEL | 10RZ
SPEC NUMBER | 110473
ENGINE MANUFACTURER | FORD
ENGINE MODEL | VSG-411
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
Thermostat | 249930 | 1 | 24.8 | 24.8
Hose, radiator, straight, 1.5 in. ID | X-304-2 | 1 | 5.3 | 5.3
Belt, V ( 34 in.) | 254782 | 1 | 4.7 | 4.7
Sensor, speed | 254842 | 1 | 96.1 | 96.1
PCB assembly, voltage regulator, PBV | B-258296 | 1 | 489 | 489
Kit, circuit board | 254844 | 1 | 270 | 270
Kit, board service | 228674 | 1 | 141.8 | 141.8
Hose, lower radiator (1.75" ID) | 226637 | 1 | 8.8 | 8.8
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
PCB assembly, cyclic crank | C-284507 | 1 | 106.3 | 106.3
Filter, oil | 279218 | 8 | 4.9 | 39.2
Element, air cleaner | 278858 | 4 | 4.7 | 18.8
Lamp, 14 V, .33 W | 269373 | 5 | 6.5 | 32.5
1241.3
MODEL | 10RZ
SPEC NUMBER | 110475
ENGINE MANUFACTURER | FORD
ENGINE MODEL | VSG-411
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
Kit, board service | 228674 | 1 | 141.8 | 141.8
Kit, circuit board | 254844 | 1 | 270 | 270
Thermostat | 249930 | 1 | 24.8 | 24.8
Sensor, speed | 254842 | 1 | 96.1 | 96.1
Hose, radiator, straight, 1.5 in. ID | X-304-2 | 1 | 5.3 | 5.3
PCB assembly, voltage regulator, PBV | B-258296 | 1 | 489 | 489
Belt, V, 34 in. | 254782 | 1 | 4.7 | 4.7
Hose, lower radiator (1.75" ID) | 226637 | 1 | 8.8 | 8.8
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
Element, air cleaner | 278858 | 4 | 4.7 | 18.8
PCB assembly, cyclic crank | C-284507 | 1 | 106.3 | 106.3
Lamp, 14 V, .33 W | 269373 | 5 | 6.5 | 32.5
Filter, oil | 279218 | 8 | 4.9 | 39.2
1241.3
MODEL | 12RY
SPEC NUMBER | 110550
ENGINE MANUFACTURER | FORD
ENGINE MODEL | VSG-413
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
Brush | 239282 | 2 | 5.3 | 10.6
Kit, voltage regulator | F-228605 | 1 | 169.9 | 169.9
Sensor, speed | 254842 | 1 | 96.1 | 96.1
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
Switch, high temperature shutoff | 255241 | 1 | 40.8 | 40.8
Filter, oil | 279218 | 8 | 4.9 | 39.2
Solenoid | 291891 | 1 | 24 | 24
Element, air cleaner | 278858 | 4 | 4.7 | 18.8
403.4
MODEL | 12RY
SPEC NUMBER | 110558
ENGINE MANUFACTURER | FORD
ENGINE MODEL | VSG-413
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
Thermostat | 249930 | 1 | 24.8 | 24.8
Brush | 239282 | 2 | 5.3 | 10.6
Spring, stainless steel | 238150 | 2 | 1.7 | 3.4
Hose, radiator, straight, 1.5 in. ID | X-304-2 | 1 | 5.3 | 5.3
Sensor, speed | 254842 | 1 | 96.1 | 96.1
Hose, lower radiator (1.75" ID) | 226637 | 1 | 8.8 | 8.8
Kit, circuit board | 254844 | 1 | 270 | 270
Switch, high temperature shutoff | 255241 | 1 | 40.8 | 40.8
Kit, voltage regulator | F-228605 | 1 | 169.9 | 169.9
Belt, V, 34 in. | 254782 | 1 | 4.7 | 4.7
Filter, oil | 279218 | 8 | 4.9 | 39.2
PCB assembly, cyclic crank | C-284507 | 1 | 106.3 | 106.3
Lamp, 14 V, .33 W | 269373 | 5 | 6.5 | 32.5
Element, air cleaner | 278858 | 4 | 4.7 | 18.8
Solenoid | 291891 | 1 | 24 | 24
859.2
MODEL | 12RY
SPEC NUMBER | 110560, 110562
ENGINE MANUFACTURER | FORD
ENGINE MODEL | VSG-413
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
Thermostat | 249930 | 1 | 24.8 | 24.8
Kit, circuit board | 254844 | 1 | 270 | 270
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
Sensor, speed | 254842 | 1 | 96.1 | 96.1
Belt, V, 34 in. | 254782 | 1 | 4.7 | 4.7
Hose, radiator, straight, 1.5 in. ID | X-304-2 | 1 | 5.3 | 5.3
Hose, lower radiator (1.75" ID) | 226637 | 1 | 8.8 | 8.8
Kit, voltage regulator | F-228605 | 1 | 169.9 | 169.9
Filter, oil | 279218 | 8 | 4.9 | 39.2
PCB assembly, cyclic crank | C-284507 | 1 | 106.3 | 106.3
Element, air cleaner | 278858 | 4 | 4.7 | 18.8
Lamp, 14 V, .33 W | 269373 | 5 | 6.5 | 32.5
780.4
MODEL | 12RZ
SPEC NUMBER | 110520
ENGINE MANUFACTURER | FORD
ENGINE MODEL | VSG-413 DI
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
Switch, high temperature shutoff | 255241 | 1 | 40.8 | 40.8
Element, air cleaner | 254772 | 4 | 28.9 | 115.6
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
Kit, sensor | 241927 | 1 | 69.1 | 69.1
Kit, circuit board | 254844 | 1 | 270 | 270
Kit, board service | 228674 | 1 | 141.8 | 141.8
PCB, governor assembly | A-249922 | 1 | 365 | 365
PCB assembly, voltage regulator, PBV | B-258296 | 1 | 489 | 489
PCB assembly, cyclic crank | C-284507 | 1 | 106.3 | 106.3
Solenoid | 291891 | 1 | 24 | 24
Lamp, 14 V, .33 W | 269373 | 5 | 6.5 | 32.5
Filter, oil | 279218 | 8 | 4.9 | 39.2
Switch assembly, pressure | 328309 | 1 | 17.8 | 17.8
1715.1
MODEL | 12RZ
SPEC NUMBER | 110561, 110563
ENGINE MANUFACTURER | FORD
ENGINE MODEL | VSG-413
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
Sensor, speed | 254842 | 1 | 96.1 | 96.1
Belt, V, 34 in. | 254782 | 1 | 4.7 | 4.7
Kit, board service | 228674 | 1 | 141.8 | 141.8
Kit, circuit board | 254844 | 1 | 270 | 270
Hose, lower radiator (1.75" ID) | 226637 | 1 | 8.8 | 8.8
PCB assembly, voltage regulator, PBV | B-258296 | 1 | 489 | 489
Hose, radiator, straight, 1.5 in. ID | X-304-2 | 1 | 5.3 | 5.3
Thermostat | 249930 | 1 | 24.8 | 24.8
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
Element, air cleaner | 278858 | 4 | 4.7 | 18.8
PCB assembly, cyclic crank | C-284507 | 1 | 106.3 | 106.3
Lamp, 14 V, .33 W | 269373 | 5 | 6.5 | 32.5
Filter, oil | 279218 | 8 | 4.9 | 39.2
1241.3
MODEL | 12RZ
SPEC NUMBER | 110552, 110553
ENGINE MANUFACTURER | FORD
ENGINE MODEL | VSG-413
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
Switch, high temperature shutoff | 255241 | 1 | 40.8 | 40.8
PCB assembly, voltage regulator, PBV | B-258296 | 1 | 489 | 489
Kit, sensor | 241927 | 1 | 69.1 | 69.1
Kit, board service | 228674 | 1 | 141.8 | 141.8
Filter, oil | 279218 | 8 | 4.9 | 39.2
Solenoid | 291891 | 1 | 24 | 24
Element, air cleaner | 278858 | 4 | 4.7 | 18.8
822.7
MODEL | 12RZ
SPEC NUMBER | 110559
ENGINE MANUFACTURER | FORD
ENGINE MODEL | VSG-413
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
Kit, board service | 228674 | 1 | 141.8 | 141.8
Belt, V, 34 in. | 254782 | 1 | 4.7 | 4.7
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
PCB assembly, voltage regulator, PBV | B-258296 | 1 | 489 | 489
Hose, lower radiator (1.75" ID) | 226637 | 1 | 8.8 | 8.8
Thermostat | 249930 | 1 | 24.8 | 24.8
Kit, sensor | 241927 | 1 | 69.1 | 69.1
Kit, circuit board | 254844 | 1 | 270 | 270
Switch, high temperature shutoff | 255241 | 1 | 40.8 | 40.8
Hose, radiator, straight, 1.5 in. ID | X-304-2 | 1 | 5.3 | 5.3
Element, air cleaner | 278858 | 4 | 4.7 | 18.8
Solenoid | 291891 | 1 | 24 | 24
Lamp, 14 V, .33 W | 269373 | 5 | 6.5 | 32.5
PCB assembly, cyclic crank | C-284507 | 1 | 106.3 | 106.3
Filter, oil | 279218 | 8 | 4.9 | 39.2
1279.1
MODEL | 18RY
SPEC NUMBER | 185102
ENGINE MANUFACTURER | FORD
ENGINE MODEL | LRG-423
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
Kit, voltage regulator | F-228605 | 1 | 169.9 | 169.9
Kit, sensor | 241927 | 1 | 69.1 | 69.1
PCB, governor assembly | A-249922 | 1 | 365 | 365
Filter, air | 258423 | 4 | 9.7 | 38.8
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
Element, oil filter | 279449 | 8 | 7.6 | 60.8
Belt, poly V, 44.5 in. | 326320 | 1 | 26.4 | 26.4
734
MODULAR SPEC - CONTACT FACTORY FOR COMPLETE LIST
MODEL | 18RY
SPEC NUMBER | 185103
ENGINE MANUFACTURER | FORD
ENGINE MODEL | LRG-423
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
Kit, voltage regulator | F-228605 | 1 | 169.9 | 169.9
PCB, governor assembly | A-249922 | 1 | 365 | 365
Kit, sensor | 241927 | 1 | 69.1 | 69.1
Filter, air | 258423 | 4 | 9.7 | 38.8
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
Kit, circuit board | 254844 | 1 | 270 | 270
Thermostat | 249930 | 1 | 24.8 | 24.8
Hose, radiator, straight, 1.5 in. ID | X-304-11 | 1 | 6.2 | 6.2
Lamp, 14 V, .33 W | 269373 | 5 | 6.5 | 32.5
Element, oil filter | 279449 | 8 | 7.6 | 60.8
Belt, poly V, 44.5 in. | 326320 | 1 | 26.4 | 26.4
1067.5
MODEL | 18RZ
SPEC NUMBER | 185104, 185105
ENGINE MANUFACTURER | FORD
ENGINE MODEL | LRG-423
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
Filter, air | 258423 | 4 | 9.7 | 38.8
Kit, board service | 228674 | 1 | 141.8 | 141.8
PCB, governor assembly | A-249922 | 1 | 365 | 365
Kit, sensor | 241927 | 1 | 69.1 | 69.1
PCB assembly, voltage regulator, PBV | B-258296 | 1 | 489 | 489
Element, oil filter | 279449 | 8 | 7.6 | 60.8
Belt, poly V, 44.5 in. | 326320 | 1 | 26.4 | 26.4
1190.9
MODEL | 18RZ
SPEC NUMBER | 185106
ENGINE MANUFACTURER | FORD
ENGINE MODEL | LRG-423
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
Kit, circuit board | 254844 | 1 | 270 | 270
Filter, air | 258423 | 4 | 9.7 | 38.8
Thermostat | 249930 | 1 | 24.8 | 24.8
Hose, radiator, straight, 1.5 in. ID | X-304-11 | 1 | 6.2 | 6.2
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
Kit, board service | 228674 | 1 | 141.8 | 141.8
PCB assembly, voltage regulator, PBV | B-258296 | 1 | 489 | 489
Kit, sensor | 241927 | 1 | 69.1 | 69.1
PCB, governor assembly | A-249922 | 1 | 365 | 365
Element, oil filter | 279449 | 8 | 7.6 | 60.8
Lamp, 14 V, .33 W | 269373 | 5 | 6.5 | 32.5
Belt, poly V, 44.5 in. | 326320 | 1 | 26.4 | 26.4
1528.4
MODEL | 20RZ
SPEC NUMBER | 185040
ENGINE MANUFACTURER | FORD
ENGINE MODEL | LRG-423
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
Heatsink | B-258545 | 1 | 236 | 236
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
Hose, molded coolant | 255237 | 1 | 13.5 | 13.5
Filter, air | 258423 | 4 | 9.7 | 38.8
Kit, sensor | 241927 | 1 | 69.1 | 69.1
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Belt, drive, 54 in. | 276139 | 1 | 23.4 | 23.4
Voltage regulator, FR-II | B-292789 | 1 | 298 | 298
Hose, molded coolant (1.75" ID) | 276186 | 1 | 10.9 | 10.9
PCB assembly | B-292357 | 1 | 291 | 291
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Belt, V, 43.5 in. | 276141 | 1 | 16 | 16
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
Element, oil filter | 279449 | 8 | 7.6 | 60.8
PCB assembly, controller | G-292806 | 1 | 739 | 739
2034.8
MODEL | 20RZ
SPEC NUMBER | 185084, 185088
ENGINE MANUFACTURER | FORD
ENGINE MODEL | LRG-423
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
Filter, air | 258423 | 4 | 9.7 | 38.8
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | 242 | 242
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Kit, sensor | 241927 | 1 | 69.1 | 69.1
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
Element, oil filter | 279449 | 8 | 7.6 | 60.8
Thermostat | 279450 | 1 | 59.9 | 59.9
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Heatsink | B-258545 | 1 | 236 | 236
Belt, poly V, 44.5 in. | 326320 | 1 | 26.4 | 26.4
PC board, controller | GM28725 | 1 | 869 | 869
Hose, upper radiator (1.50" ID) | 326356 | 1 | 10.6 | 10.6
PC board, controller | A-336432 | 1 | 256 | 256
Hose, lower radiator (1.50" ID) | 326357 | 1 | 15.8 | 15.8
2122.7
MODEL | 20RZ
SPEC NUMBER | 185086
ENGINE MANUFACTURER | FORD
ENGINE MODEL | LRG-423
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
Filter, air | 258423 | 4 | 9.7 | 38.8
Kit, sensor | 241927 | 1 | 69.1 | 69.1
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | 242 | 242
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Heatsink | B-258545 | 1 | 236 | 236
Element, oil filter | 279449 | 8 | 7.6 | 60.8
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Belt, poly V, 44.5 in. | 326320 | 1 | 26.4 | 26.4
PC board, controller | A-336432 | 1 | 256 | 256
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
PC board, controller | GM28725 | 1 | 869 | 869
Hose, lower radiator (1.50" ID) | 326357 | 1 | 15.8 | 15.8
Hose, upper radiator (1.50" ID) | 326356 | 1 | 10.6 | 10.6
2062.8
MODEL | 20RZ
SPEC NUMBER | 185085, 185087, 185089
ENGINE MANUFACTURER | FORD
ENGINE MODEL | LRG-423
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | 242 | 242
Element, air cleaner | 258423 | 4 | 9.7 | 38.8
PCB assembly, led, FRII | b-257099 | 1 | 46.6 | 46.6
Kit, sensor | 241927 | 1 | 69.1 | 69.1
Sink Assembly, Heat | B-258545 | 1 | 236 | 236
Element, oil filter | 279449 | 8 | 7.6 | 60.8
PC Board | GM34505 | 1 | 165.2 | 165.2
Belt, poly V ( 44.5 in.) | 326320 | 1 | 26.4 | 26.4
884.9
MODEL | 30RZ
SPEC NUMBER | 185090, 185091, 185092
ENGINE MANUFACTURER | FORD
ENGINE MODEL | CSG-649
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
Heatsink | B-258545 | 1 | 236 | 236
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
Kit, sensor | 241927 | 1 | 69.1 | 69.1
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | 242 | 242
Filter, air | 258423 | 4 | 9.7 | 38.8
Element, oil filter | 279449 | 8 | 7.6 | 60.8
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
Thermostat, water | 276162-S | 1 | 27.6 | 27.6
Belt, V, 41 in. | 276142 | 1 | 38.2 | 38.2
Hose, upper radiator (1.50" ID) | 273417 | 1 | 6 | 6
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
PC board, controller | GM28725 | 1 | 869 | 869
Hose, lower radiator (1.88" ID) | 326003 | 1 | 17.5 | 17.5
PC board, controller | A-336432 | 1 | 256 | 256
2099.3
MODEL | 30RZ
SPEC NUMBER | 185093, 185094, 185095
ENGINE MANUFACTURER | FORD
ENGINE MODEL | CSG-649
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | 242 | 242
Filter, air | 258423 | 4 | 9.7 | 38.8
Heatsink | B-258545 | 1 | 236 | 236
Kit, sensor | 241927 | 1 | 69.1 | 69.1
Element, oil filter | 279449 | 8 | 7.6 | 60.8
Thermostat, water | 276162-S | 1 | 27.6 | 27.6
Belt, V, 41 in. | 276142 | 1 | 38.2 | 38.2
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
924.3
MODEL | 35RZ
SPEC NUMBER | 183037, 183042, 183044, 183047, 183048, 183049
ENGINE MANUFACTURER | FORD
ENGINE MODEL | CSG-649
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | 242 | 242
Kit, sensor | 241927 | 1 | 69.1 | 69.1
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
Heatsink | B-258545 | 1 | 236 | 236
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
Thermostat, water | 276162-S | 1 | 27.6 | 27.6
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Element, oil filter | 279449 | 8 | 7.6 | 60.8
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Hose, upper radiator (1.50" ID) | 273417 | 1 | 6 | 6
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Belt, V, 41 in. | 276142 | 1 | 38.2 | 38.2
Element, air cleaner | 326099 | 4 | 15.1 | 60.4
PC board, controller | GM28725 | 1 | 869 | 869
PC board, controller | A-336432 | 1 | 256 | 256
Hose, lower radiator (1.88" ID) | 326003 | 1 | 17.5 | 17.5
2120.9
MODEL | 35RZ
SPEC NUMBER | 183038, 183043, 183045
ENGINE MANUFACTURER | FORD
ENGINE MODEL | CSG-649
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
Kit, sensor | 241927 | 1 | 69.1 | 69.1
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | 242 | 242
Thermostat, water | 276162-S | 1 | 27.6 | 27.6
Heatsink | B-258545 | 1 | 236 | 236
Belt, V, 41 in. | 276142 | 1 | 38.2 | 38.2
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
Element, oil filter | 279449 | 8 | 7.6 | 60.8
Element, air cleaner | 326099 | 4 | 15.1 | 60.4
945.9
MODEL | 35RZ
SPEC NUMBER | 183046
ENGINE MANUFACTURER | FORD
ENGINE MODEL | CSG-649
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
Kit, sensor | 241927 | 1 | 69.1 | 69.1
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | 242 | 242
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
Thermostat, water | 276162-S | 1 | 27.6 | 27.6
Belt, V, 41 in. | 276142 | 1 | 38.2 | 38.2
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Hose, upper radiator (1.50" ID) | 273417 | 1 | 6 | 6
Heatsink | B-258545 | 1 | 236 | 236
Element, oil filter | 279449 | 8 | 7.6 | 60.8
Hose, upper radiator (1.50" ID) | 276488 | 1 | 12.2 | 12.2
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Element, air cleaner | 326099 | 4 | 15.1 | 60.4
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
PC board, controller | GM28725 | 1 | 869 | 869
PC board, controller | A-336432 | 1 | 256 | 256
2115.6
MODEL | 45RZ
SPEC NUMBER | 183238, 183244, 183246, 183248, 183249, 183250
ENGINE MANUFACTURER | FORD
ENGINE MODEL | CSG-649
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | 242 | 242
Kit, sensor | 241927 | 1 | 69.1 | 69.1
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Belt, V, 41 in. | 276142 | 1 | 38.2 | 38.2
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Heatsink | B-258545 | 1 | 236 | 236
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Element, oil filter | 279449 | 8 | 7.6 | 60.8
Thermostat, water | 276162-S | 1 | 27.6 | 27.6
Hose, upper radiator (1.50" ID) | 273417 | 1 | 6 | 6
Hose, lower radiator (1.88" ID) | 326003 | 1 | 17.5 | 17.5
Element, air cleaner | 326099 | 4 | 15.1 | 60.4
PC board, controller | GM28725 | 1 | 869 | 869
PC board, controller | A-336432 | 1 | 256 | 256
2120.9
MODEL | 45RZ
SPEC NUMBER | 183239, 183245, 183247
ENGINE MANUFACTURER | FORD
ENGINE MODEL | CSG-649
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
Heatsink | B-258545 | 1 | 236 | 236
Kit, sensor | 241927 | 1 | 69.1 | 69.1
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | 242 | 242
Thermostat, water | 276162-S | 1 | 27.6 | 27.6
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
Belt, V, 41 in. | 276142 | 1 | 38.2 | 38.2
Element, oil filter | 279449 | 8 | 7.6 | 60.8
Element, air cleaner | 326099 | 4 | 15.1 | 60.4
945.9
MODEL | 50RZ
SPEC NUMBER | 187139, 187140, 187141, 187145
ENGINE MANUFACTURER | FORD
ENGINE MODEL | LSG-875
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | 242 | 242
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
Gasket, thermostat | 255752 | 1 | 2.2 | 2.2
Kit, sensor | 241927 | 1 | 69.1 | 69.1
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Belt, V, 42 in. | 258955 | 2 | 9.3 | 18.6
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Thermostat, water | 276162-S | 1 | 27.6 | 27.6
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
Hose, lower radiator (2.00" ID) | 276489 | 1 | 19.2 | 19.2
Hose, upper radiator (1.50" ID) | 276488 | 1 | 12.2 | 12.2
Heatsink | B-258545 | 1 | 236 | 236
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Element, oil filter | 279449 | 8 | 7.6 | 60.8
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
PC board, controller | GM28725 | 1 | 869 | 869
Element, air filter | 326098 | 4 | 37 | 148
PC board, controller | A-336432 | 1 | 256 | 256
2199
MODEL | 50RZ
SPEC NUMBER | 187142, 187143, 187144
ENGINE MANUFACTURER | FORD
ENGINE MODEL | LSG-875
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | 242 | 242
Kit, sensor | 241927 | 1 | 69.1 | 69.1
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
Element, oil filter | 279449 | 8 | 7.6 | 60.8
Heatsink | B-258545 | 1 | 236 | 236
Belt, V, 42 in. | 258955 | 2 | 9.3 | 18.6
Element, air filter | 326098 | 4 | 37 | 148
986.3
MODEL | 60RZ
SPEC NUMBER | 187076, 187077, 187078
ENGINE MANUFACTURER | FORD
ENGINE MODEL | LSG-875
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
Kit, sensor | 241927 | 1 | 69.1 | 69.1
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | 242 | 242
Gasket, thermostat | 255752 | 1 | 2.2 | 2.2
Thermostat, water | 276162-S | 1 | 27.6 | 27.6
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Hose, lower radiator (2.00" ID) | 276489 | 1 | 19.2 | 19.2
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Hose, upper radiator (1.50" ID) | 276488 | 1 | 12.2 | 12.2
Heatsink | B-258545 | 1 | 236 | 236
Belt, V, 42 in. | 258955 | 2 | 9.3 | 18.6
Element, oil filter | 279449 | 8 | 7.6 | 60.8
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Element, air filter | 326098 | 4 | 37 | 148
PC board, controller | A-336432 | 1 | 256 | 256
PC board, controller | GM28725 | 1 | 869 | 869
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
2199
MODEL | 60RZ
SPEC NUMBER | 187079, 187080, 187081
ENGINE MANUFACTURER | FORD
ENGINE MODEL | LSG-875
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | 242 | 242
Kit, sensor | 241927 | 1 | 69.1 | 69.1
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
Heatsink | B-258545 | 1 | 236 | 236
Element, oil filter | 279449 | 8 | 7.6 | 60.8
Belt, V, 42 in. | 258955 | 2 | 9.3 | 18.6
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
Element, air filter | 326098 | 4 | 37 | 148
986.3
MODEL | 70RZ
SPEC NUMBER | 187272, 187273, 187274
ENGINE MANUFACTURER | FORD
ENGINE MODEL | LSG-875
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
Gasket, thermostat | 255752 | 1 | 2.2 | 2.2
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | 242 | 242
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Kit, sensor | 241927 | 1 | 69.1 | 69.1
Heatsink | B-258549 | 1 | 228 | 228
Belt, V, 42 in. | 258955 | 2 | 9.3 | 18.6
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Element, oil filter | 279449 | 8 | 7.6 | 60.8
Thermostat, water | 276162-S | 1 | 27.6 | 27.6
Hose, upper radiator (1.50" ID) | 276488 | 1 | 12.2 | 12.2
Hose, lower radiator (2.00" ID) | 276489 | 1 | 19.2 | 19.2
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
PC board, controller | GM28725 | 1 | 869 | 869
Element, air filter | 326098 | 4 | 37 | 148
PC board, controller | A-336432 | 1 | 256 | 256
2191
MODEL | 70RZ92
SPEC NUMBER | 187277
ENGINE MANUFACTURER | FORD
ENGINE MODEL | LSG-875
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | 242 | 242
Kit, sensor | 241927 | 1 | 69.1 | 69.1
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
Element, oil filter | 279449 | 8 | 7.6 | 60.8
Belt, V, 42 in. | 258955 | 2 | 9.3 | 18.6
Heatsink | B-258549 | 1 | 228 | 228
Element, air filter | 326098 | 4 | 37 | 148
978.3
MODEL | 80RZ
SPEC NUMBER | 187341, 187342
ENGINE MANUFACTURER | FORD
ENGINE MODEL | LSG-875
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
Kit, sensor | 241927 | 1 | 69.1 | 69.1
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | 242 | 242
Gasket, thermostat | 255752 | 1 | 2.2 | 2.2
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
Heatsink | B-258549 | 1 | 228 | 228
Belt, V, 42 in. | 258955 | 2 | 9.3 | 18.6
Hose, lower radiator (2.00" ID) | 276489 | 1 | 19.2 | 19.2
Element, oil filter | 279449 | 8 | 7.6 | 60.8
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
Hose, upper radiator (1.50" ID) | 276488 | 1 | 12.2 | 12.2
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Thermostat, water | 276162-S | 1 | 27.6 | 27.6
PC board, controller | A-336432 | 1 | 256 | 256
Element, air cleaner | 324134 | 4 | 55.9 | 223.6
PC board, controller | GM28725 | 1 | 869 | 869
2266.6
MODEL | 80RZ
SPEC NUMBER | 187343
ENGINE MANUFACTURER | FORD
ENGINE MODEL | LSG-875
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 45
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 0.5
Gasket, thermostat | 255752 | 1 | 2.2 | 2
Kit, sensor | 241927 | 1 | 69.1 | 71.2
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | 242 | 233
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 0.8
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 0.8
Heatsink | B-258549 | 1 | 228 | 250
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 0.9
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 1.2
Element, oil filter | 279449 | 8 | 7.6 | 7.7
Belt, V, 42 in. | 258955 | 2 | 9.3 | 10.4
Hose, lower radiator (2.00" ID) | 276489 | 1 | 19.2 | 17.8
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 102.4
Hose, upper radiator (1.50" ID) | 276488 | 1 | 12.2 | 11.4
Thermostat, water | 276162-S | 1 | 27.6 | 27.2
Element, air cleaner | 324134 | 4 | 55.9 | 58.8
PC board, controller | GM28725 | 1 | 869 | 836
PC board, controller | A-336432 | 1 | 256 | 256
1933.1
MODEL | 80RZ92
SPEC NUMBER | 187346
ENGINE MANUFACTURER | FORD
ENGINE MODEL | LSG-875
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
Kit, sensor | 241927 | 1 | 69.1 | 69.1
PCB assembly, led, FRII | b-257099 | 1 | 46.6 | 46.6
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | 242 | 242
Belt, V ( 42 in.) | 258955 | 2 | 9.3 | 18.6
PC Board | GM34505 | 1 | 165.2 | 165.2
Element, oil filter | 279449 | 8 | 7.6 | 60.8
Sink Assembly, Heat | B-258549 | 1 | 228 | 228
Element, air cleaner | 324134 | 4 | 55.9 | 223.6
1053.9
MODEL | 100RZ
SPEC NUMBER | 187441, 187442, 187443
ENGINE MANUFACTURER | FORD
ENGINE MODEL | LSG-875
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
Gasket, thermostat | 255752 | 1 | 2.2 | 2.2
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | 242 | 242
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
PCB assembly, led, FRII | b-257099 | 1 | 46.6 | 46.6
Kit, sensor | 241927 | 1 | 69.1 | 69.1
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
PC Board | GM34505 | 1 | 165.2 | 165.2
Hose, lower radiator (2.00" id) | 276489 | 1 | 19.2 | 19.2
Hose, upper radiator (1.50" id) | 276488 | 1 | 12.2 | 12.2
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Element, oil filter | 279449 | 8 | 7.6 | 60.8
Belt, V ( 42 in.) | 258955 | 2 | 9.3 | 18.6
Thermostat, water | 276162-S | 1 | 27.6 | 27.6
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Sink Assembly, Heat | B-258549 | 1 | 228 | 228
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
PC board, controller | A-336432 | 1 | 256 | 256
PC board, controller | GM28725 | 1 | 869 | 869
Element, air cleaner | 324134 | 4 | 55.9 | 223.6
2266.6
MODEL | 100RZ
SPEC NUMBER | 187444, 187445, 187446
ENGINE MANUFACTURER | FORD
ENGINE MODEL | LSG-875
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
Kit, sensor | 241927 | 1 | 69.1 | 69.1
PCB assembly, led, FRII | b-257099 | 1 | 46.6 | 46.6
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | 242 | 242
Sink Assembly, Heat | B-258549 | 1 | 228 | 228
Belt, V ( 42 in.) | 258955 | 2 | 9.3 | 18.6
Element, oil filter | 279449 | 8 | 7.6 | 60.8
PC Board | GM34505 | 1 | 165.2 | 165.2
Element, air cleaner | 324134 | 4 | 55.9 | 223.6
1053.9
MODULAR SPEC - CONTACT FACTORY FOR COMPLETE LIST