## E
Note: Recommended spares lists are based on most common modules. Specifications and modules vary. Verify the part numbers against the parts catalog prior to ordering parts to be sure you are ordering the part numbers corresponding to your configuration.
MODEL | 8E
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Governor board | A-249922 | 1 | 365 | 365
PCB assembly, overspeed time delay | B-249812 | 1 | 198.4 | 198.4
PCB assembly, lopcon with time delay | H-239563 | 1 | 166.5 | 166.5
Kit, voltage regulator | F-228605 | 1 | 169.9 | 169.9
Belt, V (33 in.) | 249989 | 1 | 14.9 | 14.9
Thermostat | 249930 | 1 | 24.8 | 24.8
Gasket, water outlet | 229963 | 1 | 0.6 | 0.6
Arrester, flame | 249900 | 14 | 93.7 | 1311.8
Filter, fuel, .31 in. NPT | 249433 | 7 | 1.5 | 10.5
Filter, oil | 326817 | 14 | 5.6 | 78.4
Kit, Zinc anode | 260085 | 1 | 3.3 | 3.3
Plug, spark | 224703 | 4 | 8.5 | 34
Impeller kit | 229826 | 1 | 27.1 | 27.1
8/10/12.5C Ford VSG411/413 | TP-5413 | 1 | 12
|  |  | TOTAL | 2413.7
MODEL | 10E
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Governor board | A-249922 | 1 | 365 | 365
PCB assembly, overspeed time delay | B-249812 | 1 | 198.4 | 198.4
PCB assembly, lopcon with time delay | H-239563 | 1 | 166.5 | 166.5
Kit, voltage regulator | F-228605 | 1 | 169.9 | 169.9
Belt, V (33 in.) | 249989 | 1 | 14.9 | 14.9
Thermostat | 249930 | 1 | 24.8 | 24.8
Gasket, water outlet | 229963 | 1 | 0.6 | 0.6
Arrester, flame | 249900 | 14 | 93.7 | 1311.8
Filter, fuel, .31 in. NPT | 249433 | 7 | 1.5 | 10.5
Filter, oil | 326817 | 14 | 5.6 | 78.4
Kit, Zinc anode | 260085 | 1 | 3.3 | 3.3
Plug, spark | 224703 | 4 | 8.5 | 34
Impeller kit | 229826 | 1 | 27.1 | 27.1
8/10/12.5C Ford VSG411/413 | TP-5413 | 1 | 12
|  |  | TOTAL | 2413.7