## RZG
Note: Recommended spares lists are based on most common modules. Specifications and modules vary. Verify the part numbers against the parts catalog prior to ordering parts to be sure you are ordering the part numbers corresponding to your configuration.
MODEL | 50 & 60 RZG |  | 2000 HOUR SPARES
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Filter, Oil | GM16114 | 14 | 5.2 | 72.8
Belt | GM16132 | 1 | 38.6 | 38.6
Thermostat | GM16537 | 1 | 8.5 | 8.5
Gasket, thermostat | GM16536 | 1 | 3.5 | 3.5
Sensor, low fluid | 365289 | 1 | 51.3 | 51.3
Hose, lower radiator | GM14098 | 1 | 19 | 19
Hose, upper radiator | GM13524 | 1 | 13.6 | 13.6
Element, air cleaner | 326099 | 7 | 15.1 | 105.7
Main circuit board | GM28725 | 1 | 869 | 869
Indicator board | A-336432 | 1 | 256 | 256
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
PCB assembly, photo receiver | GM34505 | 1 | 165.2 | 165.2
PCB assembly, V/Hz regulator, FRII | A-354653 | 1 | 242 | 242
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
Spark plug | GM16531 | 8 | 14.2 | 113.6
Sensor, Mag. Speed 5/8-18 | GM16113 | 1 | 51.2 | 51.2
Wire, spark plug set | GM16184 | 1 | 94.3 | 94.3
Rotor, Distributor | GM16420 | 1 | 91.2 | 91.2
Solenoid | 291891 | 1 | 24 | 24
Sender, oil pressure | 343473 | 1 | 49.8 | 49.8
Cap, radiator | 224358 | 1 | 20.3 | 20.3
Heatsink | B-258549 | 1 | 228 | 228
Sensor, Temperature, 1/2-14NPT | GM31990 | 1 | 121.5 | 121.5
P/C GM 5.7L 50/60 kW | TP-6107 |  | 12
P/C 30-100RZG | TP-6102 |  | 12
|  |  | TOTAL | 2694.2
Model | 30 & 45 RZG
List
Description | Part No. | Qty | Price Ea. | Extended
Hose, upper radiator (38mm ID) | GM13524 | 1 | 13.6 | 13.6
Hose, lower radiator (44mm ID) | GM14098 | 1 | 19 | 19
Filter, air | 258423 | 7 | 9.7 | 67.9
Sensor, low fluid | 365289 | 1 | 51.3 | 51.3
PCB assembly, LED, FRII | b-257099 | 1 | 46.6 | 46.6
Heatsink | B-258545 | 1 | 236 | 236
Sensor, Temperature, 1/2-14NPT | GM31990 | 1 | 121.5 | 121.5
Sensor, Pressure, 1/8-27 NPT | GM16788 | 1 | 148.3 | 148.3
Filter, oil | GM16532 | 14 | 5.6 | 78.4
Spark plug | GM16531 | 6 | 14.2 | 85.2
Rotor, Distributor | GM16409 | 1 | 23.6 | 23.6
Solenoid | 291891 | 1 | 24 | 24
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
Wires, spark plug | GM16156 | 1 | 22.7 | 22.7
Gasket, water outlet | GM16536 | 1 | 3.5 | 3.5
Thermostat, engine cooling | GM16537 | 1 | 8.5 | 8.5
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Belt, fan standard | GM16132 | 1 | 38.6 | 38.6
PC board, controller | GM28725 | 1 | 869 | 869
PC board, controller | A-336432 | 1 | 256 | 256
| TP-5708 |  | 7
| TP-6009 |  | 12
| TP-6102 |  | 12
| TP-6106 |  | 12
|  |  | TOTAL | 2122.2
Model | 80 & 100 RZG
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Oil Filter | GM16703 | 14 | 6.4 | 89.6
Belt, fan | GM19739 | 1 | 52.1 | 52.1
Thermostat, 160 degree | GM19726 | 1 | 13.7 | 13.7
PCB assembly, led, FRII | b-257099 | 1 | 46.6 | 46.6
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | 242 | 242
O-ring, water sensor tube | GM19727 | 1 | 0.7 | 0.7
Sensor, low fluid | 365289 | 1 | 51.3 | 51.3
Hose, lower radiator ( 45.4mm id) | GM13884 | 1 | 19 | 19
Hose, upper radiator (1.50" id) | GM13925 | 1 | 12.3 | 12.3
Element, air cleaner | 326099 | 7 | 15.1 | 105.7
PC board, controller | GM28725 | 1 | 869 | 869
PC board, controller | A-336432 | 1 | 256 | 256
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
Sensor, Mag. Speed 5/8-18 | GM16113 | 1 | 51.2 | 51.2
Solenoid | 291891 | 1 | 24 | 24
Sink Assembly, Heat | B-258545 | 1 | 236 | 236
Plug, spark | GM16711 | 8 | 12.7 | 101.6
Coil, ignition | GM18966 | 1 | 90.7 | 90.7
Wire, Spark Plug | GM28582 | 1 | 33.2 | 33.2
P/C 30-125RZG, 30/50RZGB, Industrial | TP-6102 | 1 | 12
P/C GM 8.1L, Natural Gas | TP-6108 | 1 | 7
|  |  | TOTAL | 2303.2