## REOZJ & ROZJ
Note: Recommended spares lists are based on most common modules. Specifications and modules vary. Verify the part numbers against the parts catalog prior to ordering parts to be sure you are ordering the part numbers corresponding to your configuration.
MODEL | 20REOZJ
STANDARD UNIT MOUNTED RADIATOR
STANDARD 16 LIGHT CONTROLLER
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | #N/A | #N/A
PCB assembly, photo receiver | GM34505 | 1 | #N/A | #N/A
Heatsink | B-258545 | 1 | #N/A | #N/A
PCB assembly, LED, FRII | b-257099 | 1 | #N/A | #N/A
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | #N/A | #N/A
Indicator board | A-336432 | 1 | #N/A | #N/A
Speed sensor | 241927 | 1 | 69.1 | 69.1
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Hose, upper radiator (1.75" id) | 352522 | 1 | 19 | 19
Hose, lower radiator (2.00" id) | 352523 | 1 | 19.1 | 19.1
Belt, fan | 360483 | 1 | 49.4 | 49.4
Thermostat | 223676 | 1 | 9.2 | 9.2
Seal, thermostat | 360116 | 1 | 10.8 | 10.8
Gasket, thermostat | 360484 | 1 | 3.7 | 3.7
Element, air cleaner | 253108 | 5 | 28.5 | 142.5
Filter, fuel | 275501 | 5 | 15.8 | 79
Filter, oil | 360031 | 10 | 14.8 | 148
Injector | 360485 | 1 | 138.1 | 138.1
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
Solenoid | 291891 | 1 | 24 | 24
Sender, oil pressure | 343473 | 1 | 49.8 | 49.8
20-180ROZJ John Deere (no 6081) | TP-5408 | 1 | 12
John Deere 4039/4045 | TP-5434 | 1 | 5
Controllers, Industrial | TP-6009 | 1 | 12
Accessories, 20-200 kw Diesel | TP-6116 | 1 | 7
|  |  | TOTAL | #N/A
MODEL | 30REOZJ
STANDARD UNIT MOUNTED RADIATOR
STANDARD 16 LIGHT CONTROLLER
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | #N/A | #N/A
PCB assembly, photo receiver | GM34505 | 1 | #N/A | #N/A
Heatsink | B-258545 | 1 | #N/A | #N/A
PCB assembly, LED, FRII | b-257099 | 1 | #N/A | #N/A
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | #N/A | #N/A
Indicator board | A-336432 | 1 | #N/A | #N/A
Speed sensor | 241927 | 1 | 69.1 | 69.1
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Hose, upper radiator (1.75" id) | 352522 | 1 | 19 | 19
Hose, lower radiator (2.00" id) | 352523 | 1 | 19.1 | 19.1
Belt, fan | 360483 | 1 | 49.4 | 49.4
Thermostat | 223676 | 1 | 9.2 | 9.2
Seal, thermostat | 360116 | 1 | 10.8 | 10.8
Gasket, thermostat | 360484 | 1 | 3.7 | 3.7
Element, air cleaner | 253108 | 5 | 28.5 | 142.5
Filter, fuel | 275501 | 5 | 15.8 | 79
Filter, oil | 360031 | 10 | 14.8 | 148
Injector | 360485 | 1 | 138.1 | 138.1
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
Solenoid | 291891 | 1 | 24 | 24
Oil Pressure Sender | 343473 | 1 | 49.8 | 49.8
20-180ROZJ John Deere (no 6081) | TP-5408 | 1 | 12
John Deere 4039/4045 | TP-5434 | 1 | 5
Controllers, Industrial | TP-6009 | 1 | 12
Accessories, 20-200 kw Diesel | TP-6116 | 1 | 7
|  |  | TOTAL | #N/A
MODEL | 40REOZJ
STANDARD UNIT MOUNTED RADIATOR
STANDARD 16 LIGHT CONTROLLER
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | #N/A | #N/A
PCB assembly, photo receiver | GM34505 | 1 | #N/A | #N/A
Heatsink | B-258545 | 1 | #N/A | #N/A
PCB assembly, LED, FRII | b-257099 | 1 | #N/A | #N/A
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | #N/A | #N/A
Indicator board | A-336432 | 1 | #N/A | #N/A
Speed sensor | 241927 | 1 | 69.1 | 69.1
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Hose, upper radiator (1.75" id) | 352522 | 1 | 19 | 19
Hose, lower radiator (2.00" id) | 352523 | 1 | 19.1 | 19.1
Belt, fan | 360483 | 1 | 49.4 | 49.4
Thermostat | 223676 | 1 | 9.2 | 9.2
Seal, thermostat | 360116 | 1 | 10.8 | 10.8
Gasket, thermostat | 360484 | 1 | 3.7 | 3.7
Element, air cleaner | 253108 | 5 | 28.5 | 142.5
Filter, fuel | 275501 | 5 | 15.8 | 79
Filter, oil | 360031 | 10 | 14.8 | 148
Injector | 360485 | 1 | 138.1 | 138.1
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
Solenoid | 291891 | 1 | 24 | 24
Sender, oil pressure | 343473 | 1 | 49.8 | 49.8
20-180ROZJ John Deere (no 6081) | TP-5408 | 1 | 12
John Deere 4039/4045 | TP-5434 | 1 | 5
Controllers, Industrial | TP-6009 | 1 | 12
Accessories, 20-200 kw Diesel | TP-6116 | 1 | 7
|  |  | TOTAL | #N/A
MODEL | 50REOZJ
STANDARD UNIT MOUNTED RADIATOR
STANDARD 16 LIGHT CONTROLLER
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | #N/A | #N/A
PCB assembly, photo receiver | GM34505 | 1 | #N/A | #N/A
Heatsink | B-258545 | 1 | #N/A | #N/A
PCB assembly, LED, FRII | b-257099 | 1 | #N/A | #N/A
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | #N/A | #N/A
Indicator board | A-336432 | 1 | #N/A | #N/A
Speed sensor | 241927 | 1 | 69.1 | 69.1
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Hose, upper radiator (1.75" id) | 352522 | 1 | 19 | 19
Hose, lower radiator (2.00" id) | 352523 | 1 | 19.1 | 19.1
Belt, fan | 360483 | 1 | 49.4 | 49.4
Thermostat | 223676 | 1 | 9.2 | 9.2
Seal, thermostat | 360116 | 1 | 10.8 | 10.8
Gasket, thermostat | 360484 | 1 | 3.7 | 3.7
Element, air cleaner | 253108 | 5 | 28.5 | 142.5
Filter, fuel | 275501 | 5 | 15.8 | 79
Filter, oil | 360031 | 10 | 14.8 | 148
Nozzle, injection | 360017 | 1 | 120.1 | 120.1
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
20-180ROZJ John Deere (no 6081) | TP-5408 | 1 | 12
John Deere 4039/4045 | TP-5434 | 1 | 5
Controllers, Industrial | TP-6009 | 1 | 12
Accessories, 20-200 kw Diesel | TP-6116 | 1 | 7
|  |  | TOTAL | #N/A
MODEL | 60REOZJ
STANDARD UNIT MOUNTED RADIATOR
STANDARD 16 LIGHT CONTROLLER
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | #N/A | #N/A
PCB assembly, photo receiver | GM34505 | 1 | #N/A | #N/A
Heatsink | B-258545 | 1 | #N/A | #N/A
PCB assembly, LED, FRII | b-257099 | 1 | #N/A | #N/A
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | #N/A | #N/A
Indicator board | A-336432 | 1 | #N/A | #N/A
Speed sensor | 241927 | 1 | 69.1 | 69.1
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Hose, upper radiator (1.75" id) | 352522 | 1 | 19 | 19
Hose, lower radiator (2.00" id) | 352523 | 1 | 19.1 | 19.1
Belt, fan | 360483 | 1 | 49.4 | 49.4
Thermostat | 223676 | 1 | 9.2 | 9.2
Seal, thermostat | 360116 | 1 | 10.8 | 10.8
Gasket, thermostat | 360484 | 1 | 3.7 | 3.7
Element, air cleaner | 253108 | 5 | 28.5 | 142.5
Filter, fuel | 275501 | 5 | 15.8 | 79
Filter, oil | 360031 | 10 | 14.8 | 148
Nozzle, injection | 360017 | 1 | 120.1 | 120.1
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
20-180ROZJ John Deere (no 6081) | TP-5408 | 1 | 12
John Deere 4039/4045 | TP-5434 | 1 | 5
Controllers, Industrial | TP-6009 | 1 | 12
Accessories, 20-200 kw Diesel | TP-6116 | 1 | 7
|  |  | TOTAL | #N/A
MODEL | 80REOZJ
STANDARD UNIT MOUNTED RADIATOR
STANDARD 16 LIGHT CONTROLLER
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | #N/A | #N/A
PCB assembly, photo receiver | GM34505 | 1 | #N/A | #N/A
Heatsink | B-258545 | 1 | #N/A | #N/A
PCB assembly, LED, FRII | b-257099 | 1 | #N/A | #N/A
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | #N/A | #N/A
Indicator board | A-336432 | 1 | #N/A | #N/A
Speed sensor | 241927 | 1 | 69.1 | 69.1
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Hose, upper radiator (1.75" id) | 352522 | 1 | 19 | 19
Hose, lower radiator (2.00" id) | 352523 | 1 | 19.1 | 19.1
Belt, fan | 360483 | 1 | 49.4 | 49.4
Thermostat | 223676 | 1 | 9.2 | 9.2
Seal, thermostat | 360116 | 1 | 10.8 | 10.8
Gasket, thermostat | 360484 | 1 | 3.7 | 3.7
Element, air cleaner | 253108 | 5 | 28.5 | 142.5
Filter, fuel | 275501 | 5 | 15.8 | 79
Filter, oil | 360031 | 10 | 14.8 | 148
Nozzle, injection | 360017 | 1 | 120.1 | 120.1
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
20-180ROZJ John Deere (no 6081) | TP-5408 | 1 | 12
John Deere 6059T/TL | TP-5434 | 1 | 5
Controllers, Industrial | TP-6009 | 1 | 12
Accessories, 20-200 kw Diesel | TP-6116 | 1 | 7
|  |  | TOTAL | #N/A
MODEL | 100REOZJ
STANDARD UNIT MOUNTED RADIATOR
STANDARD 16 LIGHT CONTROLLER
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | #N/A | #N/A
PCB assembly, photo receiver | GM34505 | 1 | #N/A | #N/A
Heatsink | B-258545 | 1 | #N/A | #N/A
PCB assembly, LED, FRII | b-257099 | 1 | #N/A | #N/A
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | #N/A | #N/A
Indicator board | A-336432 | 1 | #N/A | #N/A
Speed sensor | 241927 | 1 | 69.1 | 69.1
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Hose, upper radiator (1.75" id) | 352522 | 1 | 19 | 19
Hose, lower radiator (2.00" id) | 352523 | 1 | 19.1 | 19.1
Belt, fan | 360483 | 1 | 49.4 | 49.4
Thermostat | 223676 | 1 | 9.2 | 9.2
Seal, thermostat | 360116 | 1 | 10.8 | 10.8
Gasket, thermostat | 360484 | 1 | 3.7 | 3.7
Element, air cleaner | 253108 | 5 | 28.5 | 142.5
Filter, fuel | 275501 | 5 | 15.8 | 79
Filter, oil | 360031 | 10 | 14.8 | 148
Nozzle, injection | 360017 | 1 | 120.1 | 120.1
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
20-180ROZJ John Deere (no 6081) | TP-5408 | 1 | 12
John Deere 6059T/TL | TP-5434 | 1 | 5
Controllers, Industrial | TP-6009 | 1 | 12
Accessories, 20-200 kw Diesel | TP-6116 | 1 | 7
|  |  | TOTAL | #N/A
MODEL | 135ROZJ
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | #N/A | #N/A
PCB assembly, photo receiver | GM34505 | 1 | #N/A | #N/A
Heatsink | B-258549 | 1 | #N/A | #N/A
PCB assembly, LED, FRII | b-257099 | 1 | #N/A | #N/A
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | #N/A | #N/A
Indicator board | A-336432 | 1 | #N/A | #N/A
Speed sensor | 241927 | 1 | 69.1 | 69.1
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
Hose, upper radiator (2.50" id) | 336664 | 1 | 35.4 | 35.4
Hose, lower radiator | 336878 | 1 | 36.2 | 36.2
Belt | 223959 | 1 | 26.7 | 26.7
Thermostat | 223676 | 1 | 9.2 | 9.2
Gasket, thermostat | 223763 | 1 | 2.4 | 2.4
Element, air cleaner | 253108 | 4 | 28.5 | 114
Filter, fuel | 223953 | 4 | 25.8 | 103.2
Filter, oil | 223673 | 10 | 12.8 | 128
Nozzle, injection | 223965 | 6 | 138.8 | 832.8
Solenoid | 273716 | 1 | 223 | 223
Fuel Solenoid | 291891 | 1 | 24 | 24
Sender, oil pressure | 343473 | 1 | 49.8 | 49.8
Sender, water temperature | 268298 | 1 | 9.2 | 9.2
John Deere 6081 | TP-5826 | 1 | 3
135-180ROZJ | TP-5828 | 1 | 3
Controllers, Industrial | TP-6009 | 1 | 12
Accessories, 20-200 kw Diesel | TP-6116 | 1 | 7
|  |  | TOTAL | #N/A
MODEL | 150ROZJ
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Nozzle, injection | 223965 | 6 | 138.8 | 832.8
Filter, fuel | 223953 | 4 | 25.8 | 103.2
Speed sensor | 241927 | 1 | 69.1 | 69.1
Filter, oil | 223673 | 10 | 12.8 | 128
Element, air cleaner | 253108 | 4 | 28.5 | 114
Thermostat | 223676 | 1 | 9.2 | 9.2
Gasket | 223762 | 1 | 5.5 | 5.5
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | #N/A | #N/A
PCB assembly, LED, FRII | b-257099 | 1 | #N/A | #N/A
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Heatsink | B-258549 | 1 | #N/A | #N/A
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | #N/A | #N/A
PCB assembly, photo receiver | GM34505 | 1 | #N/A | #N/A
Hose, lower radiator | 336878 | 1 | 36.2 | 36.2
Indicator board | A-336432 | 1 | #N/A | #N/A
Hose, upper radiator (2.50" id) | 336664 | 1 | 35.4 | 35.4
Belt, fan | 352793 | 1 | 79.8 | 79.8
Solenoid | 273716 | 1 | 223 | 223
Sender, oil pressure | 343473 | 1 | 49.8 | 49.8
Sender, water temperature | 268298 | 1 | 9.2 | 9.2
Solenoid | 291891 | 1 | 24 | 24
John Deere 6081 | TP-5826 | 1 | 3
135-180ROZJ | TP-5828 | 1 | 3
Controllers, Industrial | TP-6009 | 1 | 12
Accessories, 20-200 kw Diesel | TP-6116 | 1 | 7
|  |  | TOTAL | #N/A
MODEL | 180ROZJ
List
Description | Part No. | Qty | Price Ea. | Extended
Element, air cleaner | 253108 | 4 | 28.5 | 114
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Thermostat | 223676 | 1 | 9.2 | 9.2
Filter, fuel | 223953 | 4 | 25.8 | 103.2
Nozzle, injection | 223965 | 6 | 138.8 | 832.8
Gasket | 223762 | 1 | 5.5 | 5.5
Speed sensor | 241927 | 1 | 69.1 | 69.1
Filter, oil | 223673 | 10 | 12.8 | 128
Heatsink | B-258549 | 1 | #N/A | #N/A
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
PCB assembly, LED, FRII | b-257099 | 1 | #N/A | #N/A
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | #N/A | #N/A
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | #N/A | #N/A
Hose, upper radiator | 336664 | 1 | 35.4 | 35.4
Hose, lower radiator | 336878 | 1 | 36.2 | 36.2
PCB assembly, photo receiver | GM34505 | 1 | #N/A | #N/A
Solenoid | 273716 | 1 | 223 | 223
Sender, water temperature | 268298 | 1 | 9.2 | 9.2
Sender, oil pressure | 343473 | 1 | 49.8 | 49.8
Solenoid | 291891 | 1 | 24 | 24
John Deere 6081 | TP-5826 | 1 | 3
135-180ROZJ | TP-5828 | 1 | 3
Controllers, Industrial | TP-6009 | 1 | 12
Accessories, 20-200 kw Diesel | TP-6116 | 1 | 7
|  |  | TOTAL | #N/A
MODEL | 200ROZJ
DESCRIPTION | PART NO. | QTY. | LIST PRICE | EXT. LIST
Fuse, 1.5 Amp | 291207 | 5 | 0.9 | 4.5
Fuse, 3 Amp | 243273 | 5 | 0.5 | 2.5
Fuse, 15 Amp | 283645 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | #N/A | #N/A
PCB assembly, photo receiver | GM34505 | 1 | #N/A | #N/A
Heatsink | A-354299 | 1 | #N/A | #N/A
PCB assembly, LED, FRII | b-257099 | 1 | #N/A | #N/A
PCB assembly, V/Hz regulator, FRII | A-354653 | 1 | #N/A | #N/A
Indicator board | A-336432 | 1 | #N/A | #N/A
Sensor, speed | 241927 | 1 | 69.1 | 69.1
Lamp, 28v, 4.8w | 283420 | 5 | 1.6 | 8
Hose, upper radiator | 336664 | 1 | 35.4 | 35.4
Hose, lower radiator | 336878 | 1 | 36.2 | 36.2
Alternator Belt | GM17013 | 1 | #N/A | #N/A
Thermostat | 223676 | 1 | 9.2 | 9.2
Gasket, thermostat | 223762 | 1 | 5.5 | 5.5
Air Cleaner | 343219 | 4 | 99.2 | 396.8
Filter, fuel | 223953 | 4 | 25.8 | 103.2
Filter, Oil | 223673 | 10 | 12.8 | 128
Injector nozzle | GM17012 | 6 | #N/A | #N/A
Lamp, 28v, 4.8w | 291740 | 5 | 2.2 | 11
John Deere 6081 | TP-5826 | 1 | 3
135-180ROZJ | TP-5828 | 1 | 3
Controllers, Industrial | TP-6009 | 1 | 12
Accessories, 20-200 kw Diesel | TP-6116 | 1 | 7
|  |  | TOTAL | #N/A