## RMY
Note: Recommended spares lists are based on most common modules. Specifications and modules vary. Verify the part numbers against the parts catalog prior to ordering parts to be sure you are ordering the part numbers corresponding to your configuration.
MODEL | 8.5RMY
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
PCB Assy, Relay Control Board | B-358095 | 1 | 270 | 270
Governor assembly, electronic | D-278670 | 1 | 202 | 202
Kit, voltage regulator | F-228605 | 1 | 169.9 | 169.9
PCB assembly, cyclic crank | C-284507 | 1 | 106.3 | 106.3
Regulator, gas | A-227531 | 1 | 147.4 | 147.4
Brush | 239282 | 2 | 5.3 | 10.6
Brush Holder | 239247 | 1 | 21.6 | 21.6
Air Cleaner | 24 083 08-S | 4 | 16.1 | 64.4
Filter, Oil | 12 050 01-S | 10 | 7.8 | 78
Spring, stainless steel | 238150 | 5 | 1.7 | 8.5
8.5/11 RMY | TP-5868 | 1 | 12
|  |  | TOTAL | 1082.7
MODEL | 11RMY
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
PCB Assy, Relay Control Board | B-358095 | 1 | 270 | 270
PCB assembly, cyclic crank | C-284507 | 1 | 106.3 | 106.3
Kit, voltage regulator | F-228605 | 1 | 169.9 | 169.9
Brush | 239282 | 2 | 5.3 | 10.6
Brush Holder | 239247 | 1 | 21.6 | 21.6
Governor assembly, electronic | D-278670 | 1 | 202 | 202
Air Cleaner | 24 083 09-S | 4 | 11.6 | 46.4
Filter, Oil | 12 050 01-S | 8 | 7.8 | 62.4
Spring, stainless steel | 238150 | 1 | 1.7 | 1.7
8.5/11 RMY | TP-5868 | 1 | 12
|  |  | TOTAL | 894.9