## ROZM
Note: Recommended spares lists are based on most common modules. Specifications and modules vary. Verify the part numbers against the parts catalog prior to ordering parts to be sure you are ordering the part numbers corresponding to your configuration.
MODEL | 600ROZM
MITSUBISHI
List
Description | Part No. | Qty | Price Ea. | Extended
Main circuit board | GM28725 | 1 | 869 | 869
Indicator board | A-336432 | 1 | 256 | 256
Air Cleaner | 354842 | 10 | 138.3 | 1383
Low Fluid Sensor | 254832 | 1 | 46 | 46
Upper Rad Hose | GM11965 | 1 | 31.3 | 31.3
Lower Rad Hose | GM11964 | 1 | 68.6 | 68.6
Voltage regulator, Marathon DVR2000 | GM37639 | 1 | 1214 | 1214
Thermostat | GM13953 | 2 | 165.8 | 331.6
Thermostat Seal | GM15764 | 2 | 18.6 | 37.2
Oil Filter | GM13949 | 20 | 23.1 | 462
Fuel Filter | GM13951 | 10 | 60.2 | 602
Bulb | 291740 | 5 | 2.2 | 11
Fuse | 291207 | 5 | 0.9 | 4.5
Lamp | 283420 | 5 | 1.6 | 8
Fuse | 239298 | 5 | 0.8 | 4
5328.2
MODEL | 900ROZM
MITSUBISHI
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | 869 | 869
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Voltage regulator, Marathon DVR2000 | GM37639 | 1 | 1214 | 1214
Indicator board | A-336432 | 1 | 256 | 256
Lamp, 28 V, 4.8 W | 283420 | 5 | 1.6 | 8
Hose, Radiator | X-507-7 | 1 | 12.7 | 12.7
Hose, Radiator | X-6014-92 | 1 | 24.5 | 24.5
BELT | GM13948 | 2 | 29.9 | 59.8
THERMOSTAT | GM13944 | 1 | 216 | 216
ELEMENT Filter, Oil | GM13942 | 26 | 54.2 | 1409.2
THERMOSTAT GASKET | GM13945 | 4 | 3.6 | 14.4
Air cleaner, industrial | 272981 | 12 | 92.1 | 1105.2
FUEL FILTER | GM13947 | 12 | 60.8 | 729.6
Filter, Oil | GM13943 | 40 | 21.1 | 844
INJECTOR TIP | GM13946 | 12 | 60.2 | 722.4
Sensor, low fluid | 254832 | 1 | 46 | 46
Sender, oil pressure | 343474 | 1 | 52.7 | 52.7
Sender, water temperature | 268298 | 1 | 9.2 | 9.2
|  |  | TOTAL | 7608.2
MODEL | 1000 ROZM
MITSUBISHI
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Main circuit board | GM28725 | 1 | 869 | 869
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Voltage regulator, Marathon DVR2000 | GM37639 | 1 | 1214 | 1214
Indicator board | A-336432 | 1 | 256 | 256
Lamp, 28 V, 4.8 W | 283420 | 5 | 1.6 | 8
Hose, Radiator | X-507-7 | 1 | 12.7 | 12.7
Hose, Radiator | X-6014-92 | 1 | 24.5 | 24.5
BELT | GM13948 | 2 | 29.9 | 59.8
THERMOSTAT | GM13944 | 1 | 216 | 216
ELEMENT Filter, Oil | GM13942 | 26 | 54.2 | 1409.2
THERMOSTAT GASKET | GM13945 | 4 | 3.6 | 14.4
Air cleaner, industrial | 272981 | 12 | 92.1 | 1105.2
FUEL FILTER | GM13947 | 12 | 60.8 | 729.6
Filter, Oil | GM13943 | 40 | 21.1 | 844
INJECTOR TIP | GM13946 | 12 | 60.2 | 722.4
Sensor, low fluid | 254832 | 1 | 46 | 46
Sender, oil pressure | 343474 | 1 | 52.7 | 52.7
Sender, water temperature | 268298 | 1 | 9.2 | 9.2
|  |  | TOTAL | 7608.2