## WISCNSIN
Note: Recommended spares lists are based on most common modules. Specifications and modules vary. Verify the part numbers against the parts catalog prior to ordering parts to be sure you are ordering the part numbers corresponding to your configuration
CHANGE OIL FILTERS EVERY 200 HOURS, AIR AND FUEL FILTERS EVERY
400 HOURS OR ONCE A YEAR, WHICHEVER OCCURS FIRST.
MODEL | 15RMY
SPEC NUMBER | 11701
ENGINE MANUFACTURER | WISCONSIN
ENGINE MODEL | VG4D
List
Description | Part No. | Qty | Ea. | Extended
Element, air cleaner | 258423 | 4 | 9.7 | 38.8
Brush | 239282 | 2 | 5.3 | 10.6
Kit, voltage regulator | 239479 | 1 | 899 | 899
Brush holder | 239247 | 1 | 21.6 | 21.6
Lamp, 14 V, .33 W | 269373 | 5 | 6.5 | 32.5
PCB assembly | B-269959 | 1 | 596 | 596
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
1602.5
MODEL | 15RMY22/62
SPEC NUMBER | 11703
ENGINE MANUFACTURER | WISCONSIN
ENGINE MODEL | VG4D
List
Description | Part No. | Qty | Ea. | Extended
Kit, voltage regulator | 228602 | 1 | 166.9 | 166.9
Brush holder | 239247 | 1 | 21.6 | 21.6
PCB assembly | A-256367 | 1 | 89.6 | 89.6
Element, air cleaner | 258423 | 4 | 9.7 | 38.8
Brush | 239282 | 2 | 5.3 | 10.6
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
Lamp, 14 V, 2.8 W | 268310 | 5 | 2 | 10
PCB assembly | D-241883 | 1 | 194.7 | 194.7
536.2
MODEL | 15RMY92
SPEC NUMBER | 11705
ENGINE MANUFACTURER | WISCONSIN
ENGINE MODEL | VG4D
List
Description | Part No. | Qty | Ea. | Extended
Brush | 239282 | 2 | 5.3 | 10.6
Lamp, 14 V, .33 W | 269373 | 5 | 6.5 | 32.5
PCB assembly | B-269959 | 1 | 596 | 596
Element, air cleaner | 258423 | 4 | 9.7 | 38.8
Brush holder | 239247 | 1 | 21.6 | 21.6
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
Kit, voltage regulator | 239479 | 1 | 899 | 899
1602.5
MODEL | 15RMY
SPEC NUMBER | 11706
ENGINE MANUFACTURER | WISCONSIN
ENGINE MODEL | VG4D
List
Description | Part No. | Qty | Ea. | Extended
PCB assembly, controller uniboard, Dec | C-291492 | 1 | 1379 | 1379
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Brush holder | 239247 | 1 | 21.6 | 21.6
Element, air cleaner | 258423 | 4 | 9.7 | 38.8
Kit, voltage regulator | 239479 | 1 | 899 | 899
Lamp, 14 V, 2.8 W | 268310 | 15 | 2 | 30
Brush | 239282 | 2 | 5.3 | 10.6
2386
MODEL | 15RMY
SPEC NUMBER | 11708
ENGINE MANUFACTURER | WISCONSIN
ENGINE MODEL | VG4D
List
Description | Part No. | Qty | Ea. | Extended
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
Brush | 239282 | 2 | 5.3 | 10.6
Kit, voltage regulator | 239479 | 1 | 899 | 899
Brush holder | 239247 | 1 | 21.6 | 21.6
Element, air cleaner | 258423 | 4 | 9.7 | 38.8
Lamp, 14 V, .33 W | 269373 | 5 | 6.5 | 32.5
PCB assembly | B-269959 | 1 | 596 | 596
1602.5
MODEL | 15RMY22/62
SPEC NUMBER | 11709
ENGINE MANUFACTURER | WISCONSIN
ENGINE MODEL | VG4D
List
Description | Part No. | Qty | Ea. | Extended
Brush | 239282 | 2 | 5.3 | 10.6
Kit, voltage regulator | 228602 | 1 | 166.9 | 166.9
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
Brush holder | 239247 | 1 | 21.6 | 21.6
Element, air cleaner | 258423 | 4 | 9.7 | 38.8
PCB assembly | D-241883 | 1 | 194.7 | 194.7
PCB assembly | A-256367 | 1 | 89.6 | 89.6
Filter, vapor separator, 5/16 x 5/16 in | 256399 | 4 | 5.1 | 20.4
Lamp, 14 V, 2.8 W | 268310 | 5 | 2 | 10
556.6
MODEL | 15RMY
SPEC NUMBER | 11710
ENGINE MANUFACTURER | WISCONSIN
ENGINE MODEL | VG4D
List
Description | Part No. | Qty | Ea. | Extended
PCB assembly, controller uniboard, Dec | C-291492 | 1 | 1379 | 1379
PCB assembly | D-287742 | 1 | 177.1 | 177.1
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Lamp, 14 V, 2.8 W | 268310 | 15 | 2 | 30
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Brush holder | 239247 | 1 | 21.6 | 21.6
Brush | 239282 | 2 | 5.3 | 10.6
Filter, vapor separator, 5/16 x 5/16 in | 256399 | 4 | 5.1 | 20.4
Kit, voltage regulator | 239479 | 1 | 899 | 899
Element, air cleaner | 258423 | 4 | 9.7 | 38.8
2583.5