## ROY&ROZ
Note: Recommended spares lists are based on most common modules. Specifications and modules vary. Verify the part numbers against the parts catalog prior to ordering parts to be sure you are ordering the part numbers corresponding to your configuration.
MODEL | 6ROY | 5 LIGHT CONTROLLER RADIATOR COOLANT SYSTEM
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | G-292806 | 1 | 739 | 739
Kit, voltage regulator | F-228605 | 1 | 169.9 | 169.9
PCB assembly, 6-light indicator | B-292381 | 1 | 273 | 273
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Hose, upper radiator (1.10" id) | 225171 | 1 | 7.3 | 7.3
Hose, Lower radiator (1.10"id) | 225060 | 1 | 13.9 | 13.9
V-Belt | 225428 | 1 | 13.9 | 13.9
Thermostat | 225007 | 1 | 20.6 | 20.6
Thermostat seal | 225006 | 1 | 1.2 | 1.2
Gasket, thermostat | 249865 | 1 | 2.8 | 2.8
Element, air cleaner | 258646 | 4 | 16.7 | 66.8
Filter, fuel | 252898 | 4 | 6.3 | 25.2
Filter, oil | 252834 | 8 | 4.9 | 39.2
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
6/10/15ROY/ROZ 3/4TN | TP-5556 | 1 | 12
|  |  | TOTAL | 1403.3
MODEL | 10ROY | 5 LIGHT CONTROLLER RADIATOR COOLANT SYSTEM
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | G-292806 | 1 | 739 | 739
Kit, voltage regulator | F-228605 | 1 | 169.9 | 169.9
PCB assembly, 6-light indicator | B-292381 | 1 | 273 | 273
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
Hose, upper radiator (1.10" id) | 225061 | 1 | 7.1 | 7.1
Hose, Lower radiator (1.10"id) | 225060 | 1 | 13.9 | 13.9
V-Belt | 225428 | 1 | 13.9 | 13.9
Thermostat | 225007 | 1 | 20.6 | 20.6
Thermostat seal | 225006 | 1 | 1.2 | 1.2
Gasket, thermostat | 249865 | 1 | 2.8 | 2.8
Element, air cleaner | 258646 | 4 | 16.7 | 66.8
Filter, oil | 252834 | 8 | 4.9 | 39.2
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Filter, fuel | 252898 | 1 | 6.3 | 6.3
6/10/15ROY/ROZ 3/4TN | TP-5556 | 1 | 12
|  |  | TOTAL | 1384.2
MODEL | 15ROY | 5 LIGHT CONTROLLER RADIATOR COOLANT SYSTEM
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | G-292806 | 1 | 739 | 739
Kit, voltage regulator | F-228605 | 1 | 169.9 | 169.9
PCB assembly, 6-light indicator | B-292381 | 1 | 273 | 273
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
Hose, upper radiator (1.10" id) | 225061 | 1 | 7.1 | 7.1
Hose, Lower radiator (1.10"id) | 225060 | 1 | 13.9 | 13.9
Belt, fan | 225005 | 1 | 17.4 | 17.4
Thermostat | 225007 | 1 | 20.6 | 20.6
Thermostat seal | 225006 | 1 | 1.2 | 1.2
Gasket, thermostat | 249865 | 1 | 2.8 | 2.8
Element, air cleaner | 258646 | 4 | 16.7 | 66.8
Filter, fuel | 252898 | 4 | 6.3 | 25.2
Filter, oil | 252834 | 8 | 4.9 | 39.2
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
6/10/15ROY/ROZ 3/4TN | TP-5556 | 1 | 12
|  |  | TOTAL | 1406.6
MODEL | 6ROZ | 5 LIGHT CONTROLLER RADIATOR COOLING SYSTEM
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | G-292806 | 1 | 739 | 739
Bridge rectifier board | 228674 | 1 | 141.8 | 141.8
PCB assembly, voltage regulator, PBV | B-258296 | 1 | 489 | 489
PCB assembly, 6-light indicator | B-292381 | 1 | 273 | 273
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
Hose, upper radiator (1.10" id) | 225171 | 1 | 7.3 | 7.3
Hose, Lower radiator (1.10"id) | 225060 | 1 | 13.9 | 13.9
V-Belt | 225428 | 1 | 13.9 | 13.9
Thermostat | 225007 | 1 | 20.6 | 20.6
Thermostat seal | 225006 | 1 | 1.2 | 1.2
Gasket, thermostat | 249865 | 1 | 2.8 | 2.8
Element, air cleaner | 258646 | 4 | 16.7 | 66.8
Filter, fuel | 252898 | 4 | 6.3 | 25.2
Filter, oil | 252834 | 8 | 4.9 | 39.2
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
|  |  | TOTAL | 1860.2
MODEL | 10ROZ | 5 LIGHT CONTROLLER RADIATOR COOLING+C5 SYSTEM
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | G-292806 | 1 | 739 | 739
Bridge rectifier board | 228674 | 1 | 141.8 | 141.8
PCB assembly, voltage regulator, PBV | B-258296 | 1 | 489 | 489
PCB assembly, 6-light indicator | B-292381 | 1 | 273 | 273
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
Hose, upper radiator (1.10" id) | 225061 | 1 | 7.1 | 7.1
Hose, Lower radiator (1.10"id) | 225060 | 1 | 13.9 | 13.9
V-Belt | 225428 | 1 | 13.9 | 13.9
Thermostat | 225007 | 1 | 20.6 | 20.6
Thermostat seal | 225006 | 1 | 1.2 | 1.2
Gasket, thermostat | 249865 | 1 | 2.8 | 2.8
Element, air cleaner | 258646 | 4 | 16.7 | 66.8
Filter, oil | 252834 | 8 | 4.9 | 39.2
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
Filter, fuel | 252898 | 1 | 6.3 | 6.3
|  |  | TOTAL | 1841.1
MODEL | 15ROZ | 5 LIGHT CONTROLLER RADIATOR COOLING SYSTEM
List
Description | Part No. | Qty | Price Ea. | Extended
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Fuse, 3 A, 250 V | 243273 | 5 | 0.5 | 2.5
Fuse, 15A, 250 V | 283645 | 5 | 0.9 | 4.5
Main circuit board | G-292806 | 1 | 739 | 739
PCB assembly, voltage regulator, PBV | B-258296 | 1 | 489 | 489
PCB assembly, 6-light indicator | B-292381 | 1 | 273 | 273
Lamp, 14.4 V, 1.7 W | 255126 | 5 | 0.8 | 4
Hose, upper radiator (1.10" id) | 225061 | 1 | 7.1 | 7.1
Hose, Lower radiator (1.10"id) | 225060 | 1 | 13.9 | 13.9
Belt, fan | 225005 | 1 | 17.4 | 17.4
Thermostat | 225007 | 1 | 20.6 | 20.6
Thermostat seal | 225006 | 1 | 1.2 | 1.2
Gasket, thermostat | 249865 | 1 | 2.8 | 2.8
Element, air cleaner | 258646 | 4 | 16.7 | 66.8
Filter, fuel | 252898 | 4 | 6.3 | 25.2
Filter, oil | 252834 | 8 | 4.9 | 39.2
Lamp, 125 V, .33 W | 291740 | 5 | 2.2 | 11
|  |  | TOTAL | 1721.7