## EFOZ
Note: Recommended spares lists are based on most common modules. Specifications and modules vary. Verify the part numbers against the parts catalog prior to ordering parts to be sure you are ordering the part numbers corresponding to your configuration.
MODEL | 11EFOZ
List
Description | Part No. | Qty | Price Ea. | Extended
Circuit breaker, 10 A, 10 amp, 1 pole | 250719 | 1 | 4.3 | 4.3
PCB assembly, lopcon with time delay | H-239563 | 1 | 166.5 | 166.5
PCB assembly | A-229152 | 1 | 182.8 | 182.8
PCB assembly, PBV | A-344342 | 1 | 492 | 492
V-Belt | GM11551 | 1 | 15.8 | 15.8
Belt | 256503 | 1 | 8.5 | 8.5
Filter, fuel | 252898 | 5 | 6.3 | 31.5
Filter, oil | 252834 | 10 | 4.9 | 49
Nozzle, injector | 225004 | 3 | 81.8 | 245.4
Air cleaner assembly | GM22512 | 10 | 33.7 | 337
Kit, impeller repair | 229955 | 1 | 26.4 | 26.4
|  |  | TOTAL | 1559.2
MODEL | 20EOZ
List
Description | Part No. | Qty | Price Ea. | Extended
Circuit breaker, 10 A, 10 amp, 1 pole | 250719 | 1 | 4.3 | 4.3
PCB assembly, lopcon with time delay | H-239563 | 1 | 166.5 | 166.5
Diode board | A-229152 | 1 | 182.8 | 182.8
PCB assembly, PBV | A-344342 | 1 | 492 | 492
Belt | 256503 | 1 | 8.5 | 8.5
V-Belt | GM11551 | 1 | 15.8 | 15.8
Filter, fuel | 252898 | 5 | 6.3 | 31.5
Filter, Oil | 252834 | 10 | 4.9 | 49
Nozzle, injector | 225004 | 1 | 81.8 | 81.8
18.5-24CCOZ Yanmar 4JH | TP-5593 | 1 | 12
|  |  | TOTAL | 1032.2
MODEL | 16EFOZ/19EOZ
List
Description | Part No. | Qty | Price Ea. | Extended
Circuit breaker, 10 A, 10 amp, 1 pole | 250719 | 1 | 4.3 | 4.3
PCB assembly, lopcon with time delay | H-239563 | 1 | 166.5 | 166.5
PCB assembly | A-229152 | 1 | 182.8 | 182.8
PCB assembly, PBV | A-344342 | 1 | 492 | 492
V-Belt | GM11551 | 1 | 15.8 | 15.8
Belt | 256503 | 1 | 8.5 | 8.5
Filter, fuel | 252898 | 5 | 6.3 | 31.5
Filter, oil | 252834 | 10 | 4.9 | 49
Nozzle, injector | 225004 | 4 | 81.8 | 327.2
Air cleaner assembly | GM22512 | 10 | 33.7 | 337
Kit, impeller repair | 229955 | 1 | 26.4 | 26.4
|  |  | TOTAL | 1641
MODEL | 20EFOZ/23EOZ
List
Description | Part No. | Qty | Price Ea. | Extended
Circuit breaker, 10 A, 10 amp, 1 pole | 250719 | 1 | 4.3 | 4.3
PCB assembly, lopcon with time delay | H-239563 | 1 | 166.5 | 166.5
PCB assembly | A-229152 | 1 | 182.8 | 182.8
PCB assembly, PBV | A-344342 | 1 | 492 | 492
Belt, V, 46 in. | 344829 | 1 | 13.8 | 13.8
Belt | 256503 | 1 | 8.5 | 8.5
Filter, fuel | 252898 | 5 | 6.3 | 31.5
Filter, oil | 252834 | 10 | 4.9 | 49
Nozzle, fuel injection assembly | 229873 | 4 | 91.6 | 366.4
Kit, impeller repair | 229955 | 1 | 26.4 | 26.4
|  |  | TOTAL | 1341.2
MODEL | 27EFOZ/29EOZ
List
Description | Part No. | Qty | Price Ea. | Extended
PCB assembly, lopcon with time delay | H-239563 | 1 | 166.5 | 166.5
PCB assembly, PBV | A-344342 | 1 | 492 | 492
Belt, drive | 363205 | 1 | 13.6 | 13.6
Belt, V (33 in.) | 249989 | 1 | 14.9 | 14.9
Filter, fuel | 363418 | 5 | 9.3 | 46.5
Filter, oil | 252834 | 10 | 4.9 | 49
Valve assy, fuel inject | 363235 | 1 | 228 | 228
Air cleaner | A-344930 | 10 | 34.6 | 346
Thermostat | 254920 | 1 | 27.3 | 27.3
Impeller | 229826 | 1 | 27.1 | 27.1
Kit, rectifier | 328010 | 1 | 279 | 279
|  |  | TOTAL | 1689.9
MODEL | 33EFOZ/40EOZ
List
Description | Part No. | Qty | Price Ea. | Extended
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | 242 | 242
Belt, serpentine | GM15402 | 1 | 42.4 | 42.4
Filter element | 275501 | 5 | 15.8 | 79
Filter, oil | 360031 | 10 | 14.8 | 148
Injection nozzle | GM17535 | 1 | 133.7 | 133.7
Cleaner assembly, air | GM14199 | 10 | 58.2 | 582
Diode, 90 A | 336677 | 5 | 84 | 420
PCB assembly, LED, FRII | B-257099 | 1 | 46.6 | 46.6
PC Board | GM34505 | 1 | 165.2 | 165.2
Heatsink | B-258545 | 1 | 236 | 236
Thermostat | 223676 | 1 | 9.2 | 9.2
Lamp, 28 V, 4.8 W | 283420 | 5 | 1.6 | 8
PC board, controller | GM28725 | 1 | 869 | 869
PC board, controller | A-336432 | 1 | 256 | 256
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Lamp, 28 V, 4.8 W | 283420 | 5 | 1.6 | 8
Impeller repair kit | 352122 | 1 | 72.6 | 72.6
|  |  | TOTAL | 3322.2
MODEL | 55EFOZ/65EOZ
List
Description | Part No. | Qty | Price Ea. | Extended
PCB assembly, FRII voltage/Hz reg. | C-255670 | 1 | 242 | 242
Belt, serpentine | GM15402 | 1 | 42.4 | 42.4
Filter element | 275501 | 5 | 15.8 | 79
Filter, oil | 360031 | 10 | 14.8 | 148
Nozzle, injection | 360017 | 1 | 120.1 | 120.1
Cleaner assembly, air | GM14199 | 5 | 58.2 | 291
Diode, 90 A | 336677 | 5 | 84 | 420
Heatsink | B-258549 | 1 | 228 | 228
PCB assembly, LED, FRII | B-257099 | 1 | 46.6 | 46.6
PCB Board | GM34505 | 1 | 165.2 | 165.2
Lamp, 28 V, 4.8 W | 283420 | 5 | 1.6 | 8
PC board, controller | GM28725 | 1 | 869 | 869
PC board, controller | A-336432 | 1 | 256 | 256
Fuse, 1.5 A, 250 V | 291207 | 5 | 0.9 | 4.5
Thermostat | 223676 | 1 | 9.2 | 9.2
Impeller repair kit | 352122 | 1 | 72.6 | 72.6
|  |  | TOTAL | 3001.6