## YANMAR
CHANGE OIL FILTERS EVERY 150 HOURS, AIR AND FUEL FILTERS EVERY
300 HOURS OR ONCE A YEAR, WHICHEVER OCCURS FIRST.
MODEL | 6ROY
SPEC NUMBER | 126506
ENGINE MANUFACTURER | YANMAR
ENGINE MODEL | 3TNE78A
List
Description | Part No. | Qty | Ea. | Extended
Kit, circuit board | 254844 | 1 | 270 | 270
Filter, fuel | 252898 | 7 | 6.3 | 44.1
Element, air cleaner | 258646 | 7 | 16.7 | 116.9
Valve, fuel injection | 252975 | 3 | 189.9 | 569.7
Gasket, water outlet | 229963 | 1 | 0.6 | 0.6
Hose, upper radiator (1.10" id) | 225171 | 1 | 7.3 | 7.3
Hose, lower radiator (1.10" id) | 225060 | 1 | 13.9 | 13.9
Belt, V ( 27 in.) | 229125 | 1 | 3.7 | 3.7
Kit, voltage regulator | F-228605 | 1 | 169.9 | 169.9
Kit, sensor | 241927 | 1 | 69.1 | 69.1
Filter, oil | 252834 | 20 | 4.9 | 98
Belt | 225428 | 1 | 13.9 | 13.9
Lamp, 14 V, .33 W | 269373 | 1 | 6.5 | 6.5
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
Thermostat | 254920 | 1 | 27.3 | 27.3
1414.9
MODEL | 6ROY
SPEC NUMBER | 126507
ENGINE MANUFACTURER | YANMAR
ENGINE MODEL | 3TNE78A
List
Description | Part No. | Qty | Ea. | Extended
Kit, sensor | 241927 | 1 | 69.1 | 69.1
Thermostat | 254920 | 1 | 27.3 | 27.3
Valve, fuel injection | 252975 | 3 | 189.9 | 569.7
Filter, fuel | 252898 | 1 | 6.3 | 6.3
Gasket, water outlet | 229963 | 1 | 0.6 | 0.6
Element, air cleaner | 258646 | 1 | 16.7 | 16.7
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
Belt | 225428 | 1 | 13.9 | 13.9
Belt, V, 27 in. | 229125 | 1 | 3.7 | 3.7
Filter, oil | 252834 | 1 | 4.9 | 4.9
Kit, voltage regulator | F-228605 | 1 | 169.9 | 169.9
886.1
MODEL | 6ROZ
SPEC NUMBER | 126508
ENGINE MANUFACTURER | YANMAR
ENGINE MODEL | 3TNE78A
List
Description | Part No. | Qty | Ea. | Extended
Thermostat | 254920 | 1 | 27.3 | 27.3
Valve, fuel injection | 252975 | 3 | 189.9 | 569.7
Hose, upper radiator (1.10" id) | 225171 | 1 | 7.3 | 7.3
Kit, circuit board | 254844 | 1 | 270 | 270
Belt | 225428 | 1 | 13.9 | 13.9
Kit, sensor | 241927 | 1 | 69.1 | 69.1
Kit, board service | 228674 | 1 | 141.8 | 141.8
Filter, fuel | 252898 | 7 | 6.3 | 44.1
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
Filter, oil | 252834 | 20 | 4.9 | 98
Lamp, 14 V, .33 W | 269373 | 5 | 6.5 | 32.5
Belt, V, 27 in. | 229125 | 1 | 3.7 | 3.7
Element, air cleaner | 258646 | 7 | 16.7 | 116.9
PCB assembly, voltage regulator, PBV | B-258296 | 1 | 489 | 489
Hose, lower radiator (1.10"id) | 225060 | 1 | 13.9 | 13.9
Gasket, water outlet | 229963 | 1 | 0.6 | 0.6
1901.8
MODEL | 6ROZ
SPEC NUMBER | 126509
ENGINE MANUFACTURER | YANMAR
ENGINE MODEL | 3TNE78A
List
Description | Part No. | Qty | Ea. | Extended
Belt, V, 27 in. | 229125 | 1 | 3.7 | 3.7
Gasket, water outlet | 229963 | 1 | 0.6 | 0.6
Belt | 225428 | 1 | 13.9 | 13.9
Filter, oil | 252834 | 20 | 4.9 | 98
Element, air cleaner | 258646 | 7 | 16.7 | 116.9
Kit, board service | 228674 | 1 | 141.8 | 141.8
Kit, sensor | 241927 | 1 | 69.1 | 69.1
Thermostat | 254920 | 1 | 27.3 | 27.3
Filter, fuel | 252898 | 7 | 6.3 | 44.1
Valve, fuel injection | 252975 | 3 | 189.9 | 569.7
PCB assembly, voltage regulator, PBV | B-258296 | 1 | 489 | 489
1574.1
MODEL | 6RO91
SPEC NUMBER | 126510
ENGINE MANUFACTURER | YANMAR
ENGINE MODEL | 3TNE78A
List
Description | Part No. | Qty | Ea. | Extended
Kit, sensor | 241927 | 1 | 69.1 | 69.1
Filter, fuel | 252898 | 7 | 6.3 | 44.1
Thermostat | 254920 | 1 | 27.3 | 27.3
Kit, board service | 228674 | 1 | 141.8 | 141.8
Belt | 225428 | 1 | 13.9 | 13.9
Gasket, water outlet | 229963 | 1 | 0.6 | 0.6
Valve, fuel injection | 252975 | 3 | 189.9 | 569.7
Element, air cleaner | 258646 | 7 | 16.7 | 116.9
Belt, V, 27 in. | 229125 | 1 | 3.7 | 3.7
Filter, oil | 252834 | 20 | 4.9 | 98
PCB assembly, voltage regulator, PBV | B-258296 | 1 | 489 | 489
1574.1
MODEL | 10ROY
SPEC NUMBER | 126606
ENGINE MANUFACTURER | YANMAR
ENGINE MODEL | 3TNE84
MARKET | STANDBY
List
Description | Part No. | Qty | Ea. | Extended
Filter, oil | 252834 | 20 | 4.9 | 98
Kit, voltage regulator | F-228605 | 1 | 169.9 | 169.9
Brush | 239282 | 4 | 5.3 | 21.2
Spring, stainless steel | 238150 | 4 | 1.7 | 6.8
Kit, sensor | 241927 | 1 | 69.1 | 69.1
Belt | 225428 | 1 | 13.9 | 13.9
Hose, upper radiator (1.10" id) | 225061 | 1 | 7.1 | 7.1
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
Thermostat | 225007 | 1 | 20.6 | 20.6
Kit, circuit board | 254844 | 1 | 270 | 270
Hose, lower radiator (1.10"id) | 225060 | 1 | 13.9 | 13.9
Strainer, fuel | 252765 | 7 | 10.9 | 76.3
Element, air cleaner | 258646 | 4 | 16.7 | 66.8
Gasket, thermostat | 249865 | 1 | 2.8 | 2.8
Lamp, 14 V, .33 W | 269373 | 5 | 6.5 | 32.5
872.9
MODEL | 10ROY
SPEC NUMBER | 126607
ENGINE MANUFACTURER | YANMAR
ENGINE MODEL | 3TNE84
List
Description | Part No. | Qty | Ea. | Extended
Kit, voltage regulator | F-228605 | 1 | 169.9 | 169.9
Thermostat | 225007 | 1 | 20.6 | 20.6
Strainer, fuel | 252765 | 7 | 10.9 | 76.3
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
Filter, oil | 252834 | 20 | 4.9 | 98
Belt | 225428 | 1 | 13.9 | 13.9
Element, air cleaner | 258646 | 4 | 16.7 | 66.8
Kit, sensor | 241927 | 1 | 69.1 | 69.1
Gasket, thermostat | 249865 | 1 | 2.8 | 2.8
521.4
MODEL | 10ROZ
SPEC NUMBER | 126608
ENGINE MANUFACTURER | YANMAR
ENGINE MODEL | 3TNE84
List
Description | Part No. | Qty | Ea. | Extended
Element, air cleaner | 258646 | 7 | 16.7 | 116.9
Filter, oil | 252834 | 20 | 4.9 | 98
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
Thermostat | 225007 | 1 | 20.6 | 20.6
Lamp, 14 V, .33 W | 269373 | 5 | 6.5 | 32.5
Hose, lower radiator (1.10"id) | 225060 | 1 | 13.9 | 13.9
Hose, upper radiator (1.10" id) | 225061 | 1 | 7.1 | 7.1
Kit, circuit board | 254844 | 1 | 270 | 270
Kit, board service | 228674 | 1 | 141.8 | 141.8
Strainer, fuel | 252765 | 7 | 10.9 | 76.3
Belt | 225428 | 1 | 13.9 | 13.9
Gasket, thermostat | 249865 | 1 | 2.8 | 2.8
Kit, sensor | 241927 | 1 | 69.1 | 69.1
PCB assembly, voltage regulator, PBV | B-258296 | 1 | 489 | 489
1355.9
MODEL | 10ROZ
SPEC NUMBER | 126609
ENGINE MANUFACTURER | YANMAR
ENGINE MODEL | 3TNE84
List
Description | Part No. | Qty | Ea. | Extended
Thermostat | 225007 | 1 | 20.6 | 20.6
Kit, board service | 228674 | 1 | 141.8 | 141.8
Belt | 225428 | 1 | 13.9 | 13.9
Element, air cleaner | 258646 | 7 | 16.7 | 116.9
Strainer, fuel | 252765 | 7 | 10.9 | 76.3
Gasket, thermostat | 249865 | 1 | 2.8 | 2.8
Filter, oil | 252834 | 20 | 4.9 | 98
Kit, sensor | 241927 | 1 | 69.1 | 69.1
PCB assembly, voltage regulator, PBV | B-258296 | 1 | 489 | 489
1028.4
MODEL | 10RO91
SPEC NUMBER | 126610
ENGINE MANUFACTURER | YANMAR
ENGINE MODEL | 3TNE84
List
Description | Part No. | Qty | Ea. | Extended
Thermostat | 225007 | 1 | 20.6 | 20.6
Strainer, fuel | 252765 | 7 | 10.9 | 76.3
PCB assembly, voltage regulator, PBV | B-258296 | 1 | 489 | 489
Kit, board service | 228674 | 1 | 141.8 | 141.8
Element, air cleaner | 258646 | 7 | 16.7 | 116.9
Kit, sensor | 241927 | 1 | 69.1 | 69.1
Belt | 225428 | 1 | 13.9 | 13.9
Filter, oil | 252834 | 20 | 4.9 | 98
Gasket, thermostat | 249865 | 1 | 2.8 | 2.8
1028.4
MODEL | 15ROY
SPEC NUMBER | 126706
ENGINE MANUFACTURER | YANMAR
ENGINE MODEL | 4TNE84
List
Description | Part No. | Qty | Ea. | Extended
Strainer, fuel | 252765 | 7 | 10.9 | 76.3
Kit, sensor | 241927 | 1 | 69.1 | 69.1
Hose, lower radiator (1.10"id) | 225060 | 1 | 13.9 | 13.9
Hose, upper radiator (1.10" id) | 225061 | 1 | 7.1 | 7.1
Thermostat | 225007 | 1 | 20.6 | 20.6
Gasket, thermostat | 225006 | 1 | 1.2 | 1.2
Injector assembly | 224360 | 4 | 142.4 | 569.6
Element, air cleaner | 258646 | 7 | 16.7 | 116.9
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
Kit, circuit board | 254844 | 1 | 270 | 270
Lamp, 14 V, .33 W | 269373 | 5 | 6.5 | 32.5
Belt, V, 38 in. | 225626 | 1 | 8.6 | 8.6
Brush | 239282 | 4 | 5.3 | 21.2
Filter, oil | 252834 | 20 | 4.9 | 98
Spring, stainless steel | 238150 | 4 | 1.7 | 6.8
Kit, voltage regulator | F-228605 | 1 | 169.9 | 169.9
1485.7
MODEL | 15ROY
SPEC NUMBER | 126707
ENGINE MANUFACTURER | YANMAR
ENGINE MODEL | 4TNE84
List
Description | Part No. | Qty | Ea. | Extended
Gasket, thermostat | 225006 | 1 | 1.2 | 1.2
Spring, stainless steel | 238150 | 4 | 1.7 | 6.8
Element, air cleaner | 258646 | 7 | 16.7 | 116.9
Thermostat | 225007 | 1 | 20.6 | 20.6
Injector assembly | 224360 | 4 | 142.4 | 569.6
Brush | 239282 | 4 | 5.3 | 21.2
Strainer, fuel | 252765 | 7 | 10.9 | 76.3
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
Kit, sensor | 241927 | 1 | 69.1 | 69.1
Kit, voltage regulator | F-228605 | 1 | 169.9 | 169.9
Filter, oil | 252834 | 20 | 4.9 | 98
Belt, V, 38 in. | 225626 | 1 | 8.6 | 8.6
1162.2
MODEL | 15ROZ
SPEC NUMBER | 126708
ENGINE MANUFACTURER | YANMAR
ENGINE MODEL | 4TNE84
List
Description | Part No. | Qty | Ea. | Extended
Lamp, 14 V, .33 W | 269373 | 5 | 6.5 | 32.5
Thermostat | 225007 | 1 | 20.6 | 20.6
Element, air cleaner | 258646 | 7 | 16.7 | 116.9
Kit, board service | 228674 | 1 | 141.8 | 141.8
Kit, circuit board | 254844 | 1 | 270 | 270
Injector assembly | 224360 | 4 | 142.4 | 569.6
Kit, sensor | 241927 | 1 | 69.1 | 69.1
Strainer, fuel | 252765 | 7 | 10.9 | 76.3
Fuse, 10 A, 250 V | 223316 | 5 | 0.8 | 4
Hose, lower radiator (1.10" id) | 225060 | 1 | 13.9 | 13.9
PCB assembly, voltage regulator, PBV | B-258296 | 1 | 489 | 489
Gasket, thermostat | 225006 | 1 | 1.2 | 1.2
Hose, upper radiator (1.10" id) | 225061 | 1 | 7.1 | 7.1
Filter, oil | 252834 | 20 | 4.9 | 98
Belt, V ( 38 in.) | 225626 | 1 | 8.6 | 8.6
1918.6
MODEL | 15ROZ
SPEC NUMBER | 126709
ENGINE MANUFACTURER | YANMAR
ENGINE MODEL | 4TNE84
List
Description | Part No. | Qty | Ea. | Extended
Injector assembly | 224360 | 4 | 142.4 | 569.6
Filter, oil | 252834 | 20 | 4.9 | 98
Element, air cleaner | 258646 | 7 | 16.7 | 116.9
Kit, sensor | 241927 | 1 | 69.1 | 69.1
Gasket, thermostat | 225006 | 1 | 1.2 | 1.2
Thermostat | 225007 | 1 | 20.6 | 20.6
Belt, V, 38 in. | 225626 | 1 | 8.6 | 8.6
Kit, board service | 228674 | 1 | 141.8 | 141.8
Strainer, fuel | 252765 | 7 | 10.9 | 76.3
PCB assembly, voltage regulator, PBV | B-258296 | 1 | 489 | 489
1591.1
MODEL | 15ROZ91
SPEC NUMBER | 126710
ENGINE MANUFACTURER | YANMAR
ENGINE MODEL | 4TNE84
List
Description | Part No. | Qty | Ea. | Extended
Belt, V, 38 in. | 225626 | 1 | 8.6 | 8.6
Strainer, fuel | 252765 | 7 | 10.9 | 76.3
Element, air cleaner | 258646 | 7 | 16.7 | 116.9
Thermostat | 225007 | 1 | 20.6 | 20.6
Kit, sensor | 241927 | 1 | 69.1 | 69.1
Gasket, thermostat | 225006 | 1 | 1.2 | 1.2
PCB assembly, voltage regulator, PBV | B-258296 | 1 | 489 | 489
Kit, board service | 228674 | 1 | 141.8 | 141.8
Injector assembly | 224360 | 4 | 142.4 | 569.6
Filter, oil | 252834 | 20 | 4.9 | 98
1591.1